## C2A
C2A
row_number | Circuit Name | Circuit Category
1 | - | Spare/in-active
2 | WASHROOMS T-SLOT | Plug-Load
3 | MAIN CORRIDOR T-SLOT | Plug-Load
4 | WASHROOMS GFI | Plug-Load
5 | MAIN CORRIDOR T-SLOT | Plug-Load
6 | - | Spare/in-active
7 | MAIN CORRIDOR T-SLOT | Plug-Load
8 | OFFICE RCPT | Plug-Load
9 | RECEPTION RCPT | Plug-Load
10 | FLEX ROOM RCPT | Plug-Load
11 | RECEPTION RCPT | Plug-Load
12 | FLEX ROOM RCPT | Plug-Load
13 | WAITING RCPT | Plug-Load
14 | FLEX ROOM RCPT | Plug-Load
15 | WAITING RCPT | Plug-Load
16 | FLEX ROOM RCPT | Plug-Load
17 | LIFEGUARD GFI | Plug-Load
18 | - | Spare/in-active
19 | LIFEGUARD T-SLOT | Plug-Load
20 | FACP | Plug-Load
21 | LIFEGUARD ROOM RCPT | Plug-Load
22 | STAIRWELL T-SLOT | Plug-Load
23 | STAFF RM RCPT | Plug-Load
24 | EF-20 | Spare/in-active
25 | STAFF RM T-SLOT | Plug-Load
26 | TRAINING ROOM T-SLOT | Plug-Load
27 | STAFF RM GFI | Plug-Load
28 | TRAINING ROOM T-SLOT | Plug-Load
29 | STAFF RM GFI | Plug-Load
30 | TRAINING ROOM T-SLOT | Plug-Load
31 | CORRIDOR T-SLOT | Plug-Load
32 | TRAINING ROOM T-SLOT | Plug-Load
33 | CHANGE ROOM GFI | Plug-Load
34 | TRAINING ROOM T-SLOT | Plug-Load
35 | CHANGE ROOM GFI | Plug-Load
36 | TRAINING ROOM T-SLOT | Plug-Load
37 | CHANGE ROOM T-SLOT | Plug-Load
38 | TRAINING ROOM T-SLOT | Plug-Load
39 | CHANGE ROOM T-SLOT | Plug-Load
40 | TRAINING ROOM T-SLOT | Plug-Load
41 | CH-1 VESTIBULE HEATER | HVAC
42 | TRAINING ROOM T-SLOT | Plug-Load
43 | DOOR OPERATOR VESTIB. | Other
44 | TRAINING ROOM T-SLOT | Plug-Load
45 | VESTIBULE RCPT | Plug-Load
46 | BLOCK HRT FIRE PUMP | Pumps & Motors
47 | DOOR OPERATOR | Other
48 | - | Spare/in-active
49 | FAMILY CHANGE T-SLOT | Plug-Load
50 | - | Spare/in-active
51 | FAMILY CHANGE GFI | Plug-Load
52 | STAFF RM FRIDGE | Plug-Load
53 | LINEN RCPT | Plug-Load
54 | STAFF RM DISHWASHER | Plug-Load
55 | SP-1 | Boiler/DHW
56 | DWH-1 | Boiler/DHW
57 | - | Spare/in-active
58 | DWH-2 | Boiler/DHW
59 | FIRE DOORS BREEZEWAY | Other
60 | DWH-3 | Boiler/DHW
61 | - | Spare/in-active
62 | - | Spare/in-active
63 | - | Spare/in-active
64 | - | Spare/in-active
65 | RECEPTION RCPT. | Plug-Load
66 | - | Spare/in-active
67 | SMOOTHIE BAR GFI | Plug-Load
68 | EF-16/ DAMPER CONTROL | HVAC
69 | SMOOTHIE BAR RCPT. | Plug-Load
70 | SPARE IN ELEC ROOM | Spare/in-active
71 | - | Spare/in-active
72 | CH-18 | Other
73 | - | Spare/in-active
74 | SPARE IN ELEC ROOM | Spare/in-active
75 | TV RECPT. | Plug-Load
76 | WATER BOTTLE FILLER | Other
77 | TV RECPT. | Plug-Load
78 | ROLL DOORS | Other
79 | TV RECPT. | Plug-Load
80 | PARTY ROOM RCPT. | Plug-Load
81 | TV RECPT. | Plug-Load
82 | PARTY ROOM RCPT. | Plug-Load
83 | SMOOTHIE DISHWASHER | Plug-Load
84 | PARTY ROOM RCPT. | Plug-Load
85 | SMOOTHIE DISHWASHER | Plug-Load
86 | SALAD TABLE | Plug-Load
87 | SMOOTHIE DISHWASHER | Plug-Load
88 | ICE CREAM CABINET | Plug-Load
89 | BLENDER RCPT. | Plug-Load
90 | DISPLAY CASE | Plug-Load
91 | BLENDER RCPT. | Plug-Load
92 | PANINI GRILL | Plug-Load
93 | BLENDER RCPT. | Plug-Load
94 | COOLER | Plug-Load
95 | COOLER | Plug-Load
96 | JUICE MACHINE | Plug-Load
97 | ICE MACHINE | Plug-Load
98 | REACH-IN FREEZER | Plug-Load
99 | FIRE PUMP CONTROL PANEL | Panel/Sub-Panel
100 | EVO PLUS PUMP (GLYCOL) | Pumps & Motors
101 | TK-1/BMS RCPT | Plug-Load
102 | EVO PLUS PUMP (GLYCOL) | Pumps & Motors
103 | RECIRC PUMP | Pumps & Motors
104 | EF-13 | HVAC
105 | LV CONTROLS PWR | Other
106 | EF-13 | HVAC
107 | BP-1 BOILER PUMP | Pumps & Motors
108 | B-1 BOILER | Boiler/DHW
109 | BP-1 BOILER PUMP | Pumps & Motors
110 | B-1 BOILER | Boiler/DHW
111 | BP-1 BOILER PUMP | Pumps & Motors
112 | B-1 BOILER | Boiler/DHW
113 | BP-2 BOILER PUMP | Pumps & Motors
114 | B-2 BOILER | Boiler/DHW
115 | BP-2 BOILER PUMP | Pumps & Motors
116 | B-2 BOILER | Boiler/DHW
117 | BP-2 BOILER PUMP | Pumps & Motors
118 | B-2 BOILER | Boiler/DHW
119 | - | Spare/in-active
120 | SPARE IN ELEC ROOM | Spare/in-active