## H2A
H2A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | CORRIDOR T-SLOT | Plug-Load
2 | ICE PLANT RCPT. | Plug-Load
3 | CORRIDOR T-SLOT | Plug-Load
4 | ELECTRICAL ROOM RCPT | Plug-Load
5 | CORRIDOR T-SLOT | Plug-Load
6 | OFFICE RCPT | Plug-Load
7 | CORRIDOR T-SLOT | Plug-Load
8 | OFFICE RCPT | Plug-Load
9 | CORRIDOR T-SLOT | Plug-Load
10 | CORRIDOR T-SLOT | Plug-Load
11 | CORRIDOR T-SLOT | Plug-Load
12 | CHANGE ROOM T-SLOT | Plug-Load
13 | CORRIDOR T-SLOT | Plug-Load
14 | CHANGE ROOM GFI | Plug-Load
15 | CHANGE ROOM T-SLOT | Plug-Load
16 | CHANGE ROOM T-SLOT | Plug-Load
17 | CHANGE ROOM GFI | Plug-Load
18 | CHANGE ROOM GFI | Plug-Load
19 | CHANGE ROOM T-SLOT | Plug-Load
20 | WASHROOM GFI | Plug-Load
21 | CHANGE ROOM GFI | Plug-Load
22 | MECH OFFICE RCPT. | Plug-Load
23 | WASHROOM GFI | Plug-Load
24 | ICE PLANT RCPT | Plug-Load
25 | CHANGE ROOM GFI | Plug-Load
26 | EQUIPMENT ROOM RCPT7 | Plug-Load
27 | CHANGE ROOM T-SLOT | Plug-Load
28 | SCORE KEEP RCPT | Plug-Load
29 | ZAMBONI ROOM T-SLOT | Plug-Load
30 | SCORE KEEP RCPT | Plug-Load
31 | O/H ZAMBONI DOOR | Plug-Load
32 | SKATES ROOM RCPT | Plug-Load
33 | - | Spare/in-active
34 | SKATES ROOM T-SLOT | Plug-Load
35 | AHU-3 SERVICE RCPT | Plug-Load
36 | OFFICE RCPT | Plug-Load
37 | MEZZ TRAINING ROOM | Plug-Load
38 | TV MAIN ENTRANCE | Plug-Load
39 | MEZZ T-SLOT | Plug-Load
40 | - | Spare/in-active
41 | MEZZ T-SLOT | Plug-Load
42 | MECH ROOM RCPT. | Plug-Load
43 | MEZZ T-SLOT | Plug-Load
44 | SCORE BOARD SPARE | Spare/in-active
45 | MEZZ T-SLOT | Plug-Load
46 | SCORE BOARD PWR | Plug-Load
47 | MEZZ T-SLOT | Plug-Load
48 | SPARE | Spare/in-active
49 | WASHROOM GFI | Plug-Load
50 | EXTERIOR GFI | Plug-Load
51 | MEZZ T-SLOT | Plug-Load
52 | ICE PLANT CONTROL PANEL | Panel/Sub-Panel
53 | MEZZ T-SLOT | Plug-Load
54 | AMMONIA SENSOR | Other
55 | - | Spare/in-active
56 | - | Spare/in-active
57 | WATER BOTTLE FILLER | Other
58 | - | Spare/in-active
59 | MEZZ TRAINING ROOM | Plug-Load
60 | FIRE DOOR MAGS | Plug-Load
61 | MEZZ TRAINING ROOM | Plug-Load
62 | ENTENDER MIC RCPT | Plug-Load
63 | MEZZ TRAINING ROOM | Plug-Load
64 | - | Spare/in-active
65 | MEZZ TRAINING ROOM | Plug-Load
66 | - | Spare/in-active
67 | MEZZ TRAINING ROOM | Plug-Load
68 | - | Spare/in-active
69 | MEZZ TRAINING ROOM | Plug-Load
70 | - | Spare/in-active
71 | MEZZ TRAINING ROOM | Plug-Load
72 | - | Spare/in-active
73 | - | Spare/in-active
74 | - | Spare/in-active
75 | - | Spare/in-active
76 | - | Spare/in-active
77 | - | Spare/in-active
78 | - | Spare/in-active
79 | - | Spare/in-active
80 | - | Spare/in-active
81 | - | Spare/in-active
82 | - | Spare/in-active