## C2B
C2B
row_number | Circuit Name | Circuit Category
1 | CORRIDOR T-SLOT | Plug-Load
2 | ELECTRICAL ROOM RCPT | Plug-Load
3 | CORRIDOR T-SLOT | Plug-Load
4 | OFFICE RCPT. | Plug-Load
5 | - | Spare/in-active
6 | OFFICE RCPT. | Plug-Load
7 | WATER BOTTLE FILLER | Other
8 | OFFICE RCPT. | Plug-Load
9 | WASHROOM GFI | Plug-Load
10 | OFFICE RCPT. | Plug-Load
11 | OFFICE RCPT. | Plug-Load
12 | OFFICE RCPT. | Plug-Load
13 | WASHROOM GFI | Plug-Load
14 | OFFICE RCPT. | Plug-Load
15 | EF-21 | HVAC
16 | OFFICE RCPT. | Plug-Load
17 | WR RCPT/DOOR OPERATOR | Other
18 | OFFICE RCPT. | Plug-Load
19 | WASHROOM GFI | Plug-Load
20 | OFFICE RCPT. | Plug-Load
21 | JANITOR GFI | Plug-Load
22 | OFFICE RCPT. | Plug-Load
23 | CORRIDOR T-SLOT | Plug-Load
24 | OFFICE RCPT. | Plug-Load
25 | CORRIDOR T-SLOT | Plug-Load
26 | OFFICE RCPT. | Plug-Load
27 | CORRIDOR T-SLOT | Plug-Load
28 | OFFICE RCPT. | Plug-Load
29 | - | Spare/in-active
30 | EF-15 | HVAC
31 | LV CONTROL PWR BMS | Panel/Sub-Panel
32 | LIBRARY | Other
33 | LIBRARY OP-LIGHT | Other
34 | LIBRARY | Other
35 | RESTAURANT | Other
36 | LIBRARY | Other
37 | PARTY ROOM RCPT | Plug-Load
38 | SERVER ROOM RCPT | Plug-Load
39 | PARTY ROOM RCPT | Plug-Load
40 | SERVER ROOM RCPT | Plug-Load
41 | OFFICE RCPT. | Plug-Load
42 | OFFICE RCPT. | Plug-Load
43 | OFFICE RCPT. | Plug-Load
44 | OFFICE RCPT. | Plug-Load
45 | OFFICE RCPT. | Plug-Load
46 | OFFICE RCPT. | Plug-Load
47 | OFFICE RCPT. | Plug-Load
48 | OFFICE RCPT. | Plug-Load
49 | OFFICE RCPT. | Plug-Load
50 | UPS RECEPTACLE | Plug-Load
51 | OFFICE RCPT. | Plug-Load
52 | UPS RECEPTACLE | Plug-Load
53 | PARTY ROOM RCPT. | Plug-Load
54 | UPS RECEPTACLE | Plug-Load
55 | OFFICE RCPT. | Plug-Load
56 | - | Spare/in-active
57 | OFFICE RCPT. | Plug-Load
58 | KITCHEN DISHWASHER | Plug-Load
59 | SERVER ROOM RCPT. | Plug-Load
60 | KITCHEN DISHWASHER | Plug-Load
61 | SERVER ROOM COPIER | Plug-Load
62 | KITCHEN DISHWASHER | Plug-Load
63 | SERVER ROOM COPIER | Plug-Load
64 | COFFEE SYSTEM | Plug-Load
65 | SERVER ROOM RCPT. | Plug-Load
66 | COFFEE SYSTEM | Plug-Load
67 | - | Spare/in-active
68 | EXHAUST CANOPY LIGHTS | Lighting
69 | SOUP RE-THERMALIZER | Other
70 | LIB OFFICE RECEPTS, | Plug-Load
71 | NACHO | Plug-Load
72 | HOT SPECIALITY'DRINKS | Plug-Load
73 | CHEESE WARMER | Plug-Load
74 | EF-22/MAU-2 CONTROLS | Panel/Sub-Panel
75 | REACH-IN FREEZER | Plug-Load
76 | HOTDOG | Plug-Load
77 | REACH-IN COOLER | Plug-Load
78 | BUTTER WARMER | Plug-Load
79 | WORKTOP COOLER | Plug-Load
80 | SLIDING DOOR COOLER | Plug-Load
81 | RAPID COOK OVEN | Plug-Load
82 | PHOTOCOPIER LIB | Plug-Load
83 | RAPID COOK OVEN | Plug-Load
84 | KITCHEN GFI | Plug-Load
85 | - | Spare/in-active
86 | FIRE SUPRESSION (SPARE) | Plug-Load
87 | KITCHEN RCPT | Plug-Load
88 | SM LIB CORNER TREE | Plug-Load
89 | - | Spare/in-active
90 | LIB OFFICE LIGHTING | Lighting
91 | - | Spare/in-active
92 | SERVER ROOM RCPT. | Plug-Load
93 | WARMING CABINET | Plug-Load
94 | SERVER ROOM RCPT. | Plug-Load
95 | POPCORN | Plug-Load
96 | LIB CIRC DESK RECEPT | Plug-Load
97 | MAU-2 | HVAC
98 | LIB KITCHEN COUNTER | Other
99 | MAU-2 | HVAC
100 | EF-22 | HVAC
101 | MAU-2 | HVAC
102 | EF-22 | HVAC
103 | - | Spare/in-active
104 | EF-22 | HVAC
105 | 3/4 LIB CORNER TREE | Other
106 | FRIER HEAT LAMP | Plug-Load
107 | STAFF ROOM DISHWASHER | Plug-Load
108 | UPWASH LIGHTS | Lighting
109 | STAFF ROOM DISHWASHER | Plug-Load
110 | PENDANT LIGHTS | Lighting
111 | STAFF COUNTER RCPT. | Plug-Load
112 | UPWASH LIGHTS | Lighting
113 | STAFF COUNTER RCPT. | Plug-Load
114 | TREE/CIRC DESK POWER | Plug-Load
115 | STAFF ROOM MICROWAVE | Plug-Load
116 | - | Spare/in-active
117 | STAFF ROOM FRIDGE | Plug-Load
118 | STAFF ROOM RANGE | Plug-Load
119 | STAFF ROOM RANGE HOOD | Plug-Load
120 | STAFF ROOM RANGE | Plug-Load