## M6B
M6B
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | Return Fan VU-2 | HVAC
2 | Gymnasium Lighting | Lighting
3 | Return Fan VU-2 | HVAC
4 | Gymnasium Lighting | Lighting
5 | Return Fan VU-2 | HVAC
6 | Gymnasium Lighting | Lighting
7 | Spare | Spare/in-active
8 | GYM 100 - Lower Lighting | Lighting
9 | Spare | Spare/in-active
10 | Exhaust Fan EF-3 | HVAC
11 | Spare | Spare/in-active
12 | Exhaust Fan EF-3 | HVAC
13 | Spare | Spare/in-active
14 | Exhaust Fan EF-3 | HVAC
15 | Spare | Spare/in-active
16 | Multipurpose Ventilation Unit VU-2 N | HVAC
17 | Spare | Spare/in-active
18 | Multipurpose Ventilation Unit VU-2 N | HVAC
19 | Return Air Fan VU-1 | HVAC
20 | Multipurpose Ventilation Unit VU-2 N | HVAC
21 | Return Air Fan VU-1 | HVAC
22 | Spare | Spare/in-active
23 | Return Air Fan VU-1 | HVAC
24 | Spare | Spare/in-active
25 | Ticket Booth Shutter | Other
26 | Door 18 - Exterior Lights (X2) | Lighting
27 | Ticket Booth Shutter | Other
28 | Space | Spare/in-active
29 | Ticket Booth Shutter | Other
30 | Space | Spare/in-active
31 | Exterior AC Condensor (Pogg RM 200) | HVAC
32 | Space | Spare/in-active
33 | Exterior AC Condensor (Pogg RM 200) | HVAC
34 | Space | Spare/in-active
35 | Exterior AC Condensor (Pogg RM 200) | HVAC
36 | Space | Spare/in-active
37 | VU-1 | HVAC
38 | Space | Spare/in-active
39 | VU-1 | HVAC
40 | Space | Spare/in-active
41 | VU-1 | HVAC
42 | Space | Spare/in-active

## M2B
M2B
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | Dressing RM - Housekeeping Rec. | Plug-Load
2 | Corridor/Vestibule - LGT BP1-1 | Plug-Load
3 | GYM Office - Receptacles | Plug-Load
4 | Common Area POT Lighting & BP1-2 | Lighting
5 | Storage/Janitor - Rec. | Plug-Load
6 | Play Area/Lobby - Lighting | Lighting
7 | Mens Washroom - Housekeeping Rec. | Plug-Load
8 | Multipurpose RM - Lighting & BP1-3 | Lighting
9 | Mens Washroom - GFI Counter Rec. | Plug-Load
10 | Lighting/BP1-4 (stairs soccerside) | Lighting
11 | Mens Washroom - Hand Dryer | Other
12 | Dressing RM - Lighting & BP1-5 | Lighting
13 | Mens Washroom - Hand Dryer | Other
14 | Washroom - Lighting & BP1-6 | Lighting
15 | Mens Washroom - Hand Dryer | Other
16 | Washroom - Lighting | Lighting
17 | Womens Washroom - Housekeeping Rec. | Plug-Load
18 | Lighting Reception/RM 120 | Lighting
19 | Womens Washroom - GFI Counter Rec. | Plug-Load
20 | Lighting/BP1-8 (office stairs) | Lighting
21 | Womens Washroom - Hand Dryer | Other
22 | Lighting Controller/Exit Lights | Lighting
23 | Womens Washroom - Hand Dryer | Other
24 | Ticket Office Shutter Controller | Other
25 | Womens Washroom - Hand Dryer | Other
26 | Mechanical/Elec RM - Lighting & BP1-9 | Lighting
27 | Receprion RM 118 - Receptacle (X4) | Plug-Load
28 | Spare | Spare/in-active
29 | Office RM 119 - Receptacles (X4) | Plug-Load
30 | Gym Storage / Bike RM Receptacles | Plug-Load
31 | Receprion RM 117 - Receptacle (X4) | Plug-Load
32 | Existing Special Receptacles | Plug-Load
33 | GYM Vewing - Convenience/USB Rec | Plug-Load
34 | Spare | Spare/in-active
35 | Gym Vewing - Housekepping Rec | Plug-Load
36 | Mechanical RM - Receptacles | Plug-Load
37 | Lobby FGCI Drinking Fountain | Other
38 | Gym RM 103 - Receptacles | Plug-Load
39 | Lobby - Housekepping Rec. | Plug-Load
40 | Gym RM 103 - Microwave | Plug-Load
41 | Main Lobby - ATM | Plug-Load
42 | Gym RM 103 - Receptacles (X1) | Plug-Load
43 | Play Area Lobby - Receptacle | Plug-Load
44 | Washroom - GFI Counter Rec | Plug-Load
45 | Main Vestibule - Auto Openers | Other
46 | Washroom - Hand Dryer | Other
47 | Ticket Storage - Receptacle | Plug-Load
48 | Gym RM 104 - Receptacles (X2) | Plug-Load
49 | Ticket Storage - Coffee | Plug-Load
50 | GYM Multipurpose Receptacles (X2) | Plug-Load
51 | Play Area Lobby - Receptacle | Plug-Load
52 | GYM Multipurpose Receptacles (X2) | Plug-Load
53 | Lobby - Housekepping Plug | Plug-Load
54 | Snow Panel Receptacle - North GYM Official Wall | Plug-Load
55 | Lobby Black Plates | Other
56 | Snow Panel Receptacle - North GYM Official Wall | Plug-Load
57 | Lobby Black Plates | Other
58 | Gymnasium Receptacles (X2) | Plug-Load
59 | Lobby Black Plates | Other
60 | GYM Housekeeping REC. (X2) | Plug-Load
61 | Lobby Black Plates | Other
62 | Elevator Cab Light | Lighting
63 | Multipurpose RM 155 (X4)- Rec | Plug-Load
64 | Exterior-Mechanical Service REC | Plug-Load
65 | Multipurpose RM 155 (X2)- Rec | Plug-Load
66 | Snow Panel Receptacle - South GYM Curling Side | Plug-Load
67 | Multipurpose RM 155 (X1)- Rec | Plug-Load
68 | Snow Panel Receptacle - South GYM Curling Side | Plug-Load
69 | Meeting RM 116 - Rec (X3) | Plug-Load
70 | Exterior Plug Door #18 | Plug-Load
71 | Ticket Office - Screen & Convenience | Other
72 | Irrigation (Soccer Field) | Other
73 | Electrical RM - Convenience | Other
74 | FACP | Other
75 | Stairs 1 - Door Hold | Other
76 | Exterior Pot LGT (X3) / Exterior LGT Contractor | Lighting
77 | Elevator Lobby Rec (Below TV) | Other
78 | Space | Spare/in-active
79 | Lobby vending Machines | Plug-Load
80 | FA Auto Dialer | Other
81 | Reception RM 118 - Rec (X1) | Plug-Load
82 | Elevator PIT GFCI | Other
83 | Fire Place | Other
84 | Elevator PIT Light | Lighting

## M2G
M2G
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | EH-3 (Exterior Door #2 - Soccerside) | Other
2 | EH-4-VAV (Ceiling Reception RM 118) | HVAC
3 | EH-3 (Exterior Door #2 - Soccerside) | HVAC
4 | EH-4-VAV (Ceiling Reception RM 118) | HVAC
5 | EH-1 (Front Vestibule) Left From Inside | HVAC
6 | EH-5-VAV (Exterior Door #18 - Stairs) | HVAC
7 | EH-1 (Front Vestibule) Left From Inside | HVAC
8 | EH-5-VAV (Exterior Door #18 - Stairs) | HVAC
9 | EH-2 (Front Vestibule) Right From Inside | HVAC
10 | Spare | Spare/in-active
11 | EH-2 (Front Vestibule) Right From Inside | HVAC
12 | Spare | Spare/in-active
13 | Elevator Pit | Other
14 | Spare | Spare/in-active
15 | BSBD HTR | HVAC
16 | Spare | Spare/in-active
17 | Spare | Spare/in-active
18 | Heater Room 125 Ticket Boots | Other
19 | Space | Spare/in-active
20 | Heater Room 125 Ticket Boots | Other
21 | Space | Spare/in-active
22 | Heater Room 101 Backwall Bikeroom | Other
23 | Space | Spare/in-active
24 | Heater Room 101 Backwall Bikeroom | Other
25 | Space | Spare/in-active
26 | Heater Room 101 Sidewall Bikeroom | Other
27 | Space | Spare/in-active
28 | Heater Room 101 Sidewall Bikeroom | Other
29 | Space | Spare/in-active
30 | Heater Room 102 Storage Gymnastic | Other
31 | Space | Spare/in-active
32 | Heater Room 102 Storage Gymnastic | Other
33 | Space | Spare/in-active
34 | Heater Room 103 Lunch Gymnastic | Other
35 | Space | Spare/in-active
36 | Heater Room 103 Lunch Gymnastic | Other
37 | Space | Spare/in-active
38 | Space | Spare/in-active
39 | Space | Spare/in-active
40 | Space | Spare/in-active
41 | Space | Spare/in-active
42 | M2G Panel Receptacle | Plug-Load

## M2D
M2D
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | Concession - Lighting & BP 1-7 | Lighting
2 | Coffee Machine | Plug-Load
3 | Popcorn Machine | Plug-Load
4 | Under Counter Cooler | Plug-Load
5 | Receptacles - Front Counter | Plug-Load
6 | Blender | Plug-Load
7 | Receptacles - Front Counter | Plug-Load
8 | Blender | Plug-Load
9 | POS System | Other
10 | Upright Freezer | Plug-Load
11 | Beverage Cooler | Plug-Load
12 | Upright Freezer | Plug-Load
13 | Counter Receptacles | Plug-Load
14 | Upright Cooler | Plug-Load
15 | Receptacles | Plug-Load
16 | Future Dishwasher (Servery) | Plug-Load
17 | Sandwich Prep Station | Plug-Load
18 | Toaster Oven | Plug-Load
19 | Microwave | Plug-Load
20 | Toaster Oven | Plug-Load
21 | Gas Range | Plug-Load
22 | Counter Receptacles | Plug-Load
23 | Future Double Oven | Plug-Load
24 | Icecream Machine #1 | Plug-Load
25 | Future Double Oven | Plug-Load
26 | Icecream Machine #1 | Plug-Load
27 | Ceiling JB | Other
28 | Icecream Machine #2 | Plug-Load
29 | Exhaust Canopy | Other
30 | Icecream Machine #2 | Plug-Load
31 | Fire Suppression System | Other
32 | Show Panel TC Arena | Other
33 | Counter Receptacles | Plug-Load
34 | Show Panel TC Arena | Other
35 | Counter Receptacles | Plug-Load
36 | Telus Receptacles | Plug-Load
37 | Spare | Spare/in-active
38 | Spare | Spare/in-active
39 | Counter Receptacles | Plug-Load
40 | Spare | Spare/in-active
41 | Hot Chocolate Machine | Plug-Load
42 | M2D Panel Receptacle | Plug-Load

## M6D1
M6D1
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | TX-C | HVAC
2 | TX-A | HVAC
3 | M6B | Panel/ Sub- Panel
4 | RTU-4 | HVAC
5 | TX-B | HVAC
6 | RTU-3 / 2 Floor Office | HVAC
7 | M6C | Panel/ Sub- Panel
8 | Elevator | Other

## M6C
M6C
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | Exterior Unit Existing Dehumifier DH-E | HVAC
2 | AK Arena Lighting | Lighting
3 | Exterior Unit Existing Dehumifier DH-E | HVAC
4 | AK Arena Lighting | Lighting
5 | Exterior Unit Existing Dehumifier DH-E | HVAC
6 | AK Arena Lighting | Lighting
7 | RTU-2 Main Floor - Front Office And Gymnastic Change RM | HVAC
8 | AK Arena Lighting | Lighting
9 | RTU-2 Main Floor - Front Office And Gymnastic Change RM | HVAC
10 | AK Arena Lighting | Lighting
11 | RTU-2 Main Floor - Front Office And Gymnastic Change RM | HVAC
12 | AK Arena Lighting | Lighting
13 | Exterior Lighting (around AK) | Lighting
14 | AK Arena Lighting | Lighting
15 | Multipurpose 115 RM Rooftop Unit RTU-1 | HVAC
16 | AK Zamboni RM Lighting | Lighting
17 | Multipurpose 115 RM Rooftop Unit RTU-1 | HVAC
18 | Fitness Room RTU-5 | HVAC
19 | Multipurpose 115 RM Rooftop Unit RTU-1 | HVAC
20 | Fitness Room RTU-5 | HVAC
21 | Exhaust Pan EF-1 (skate park wall) (controlled by CO2 Det) | HVAC
22 | Fitness Room RTU-5 | HVAC
23 | Exhaust Pan EF-1 (skate park wall) (controlled by CO2 Det) | HVAC
24 | AK Arena Corner Bar 5 KW Heater | HVAC
25 | Exhaust Pan EF-1 (skate park wall) (controlled by CO2 Det) | HVAC
26 | AK Arena Corner Bar 5 KW Heater | HVAC
27 | Viewing Area Multipurpose 230 MUA-1 | HVAC
28 | AK Arena Corner Bar 5 KW Heater | HVAC
29 | Viewing Area Multipurpose 230 MUA-1 | HVAC
30 | AK Arena Corner Bar 10 KW Heater | HVAC
31 | Viewing Area Multipurpose 230 MUA-1 | HVAC
32 | AK Arena Corner Bar 10 KW Heater | HVAC
33 | Alex Kaleta a Change Room HRV | HVAC
34 | AK Arena Corner Bar 10 KW Heater | HVAC
35 | Alex Kaleta a Change Room HRV | HVAC
36 | Space | Spare/in-active
37 | Alex Kaleta a Change Room HRV | HVAC
38 | Space | Spare/in-active
39 | CUH-1 (Old Unit - Sound Booth Stairs) | HVAC
40 | Space | Spare/in-active
41 | CUH-1 (Old Unit - Sound Booth Stairs) | HVAC
42 | Space | Spare/in-active

## M2F
M6F
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | Stair 4 - Television | Plug-Load
2 | Exterior Garage | Other
3 | AK Seating Infrared Heaters | HVAC
4 | Exterior Garage | Other
5 | Mechanical RM - Existing REC. | Plug-Load
6 | Sprinkler Room - Existing Baseboard Heater | HVAC
7 | Boiler | DHW / Boiler
8 | Sprinkler Room - Existing Baseboard Heater | HVAC
9 | Mechanical RM - Existing REC. | Plug-Load
10 | Olympia RM - Refueling Pump | Pumps & Motors
11 | AK New Wall Led | Lighting
12 | Olympia RM - Refueling Pump | Pumps & Motors
13 | AK Arena (Soccer Field Side) Existing Heat Trace | Other
14 | Referee RM Receptacles | Plug-Load
15 | AK Arena (Soccer Field Side) Existing Heat Trace | Other
16 | AK Arena - Existing Heat Trace | Other
17 | Spare | Spare/in-active
18 | AK Arena - Existing Heat Trace | Other
19 | AK Arena - Existing REC | Plug-Load
20 | AK Arena - Snow Panel (Left Side Blechers) | Other
21 | AK Arena - Existing CO2 Detectors | Other
22 | AK Arena - Snow Panel (Left Side Blechers) | Other
23 | RMS 136 & 137 Plugs | Plug-Load
24 | Heat Trace AK - Soccer Field Side | Other
25 | Receptacles | Plug-Load
26 | Heat Trace AK - Soccer Field Side | Other
27 | UH North East Heaters | HVAC
28 | AK Arena - Existing REC. | Plug-Load
29 | UH South Heaters | HVAC
30 | Telus Receptacles | Plug-Load
31 | Sound Booth Base Board Heaters (X2) | HVAC
32 | Exhaust Fan EF-6 N Staff 146 | HVAC
33 | Sound Booth Base Board Heaters (X2) | HVAC
34 | RM 147 - Zamboni Gas Heater | HVAC
35 | RM-147 - Sump Pit GFCI | Pumps & Motors
36 | 146A Plug & 147 Plugs | Plug-Load
37 | Mech RM 145 Receptacles | Plug-Load
38 | 146A Plug & 147 Plug | Plug-Load
39 | Mech RM 145 Receptacles | Plug-Load
40 | Sprinkler RM Lighting | Lighting
41 | Mech RM 145 - Ceiling Fan | Other
42 | EH-7 AK - Scorekeeper Box | Other

## M2D1
M2D1
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | M2F | Panel/ Sub- Panel
2 | M2C | Panel/ Sub- Panel

## M2C
M2C
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | Corridor / Lobby LGT | Lighting
2 | AK Arena - Wall Mount LGT & BP 1-16 | Lighting
3 | Stair #4 - Lighting | Lighting
4 | Mech/ice Resurface RM - LGT & BP 1-17 | Lighting
5 | Elec / Dressing RM 4 - LGT & BP 1-13 | Lighting
6 | AK Arena - Exit Lighting | Lighting
7 | Referee / Dressing RM 3 - LGT | Lighting
8 | Spare in Junction | Spare/in-active
9 | Flex / Dressing RM 2 - LGT & BP 1-11 | Lighting
10 | Spare in Junction | Spare/in-active
11 | Storage / Dressing RM 1 - LGT | Lighting
12 | Space | Spare/in-active
13 | Vestibule Exit Lighting BPI-10 | Lighting
14 | Dressing RM 1-2, Flex. REF -GFI REC. | Plug-Load
15 | Electrical RM - Receptacles | Plug-Load
16 | Flex RM - Receptacles | Plug-Load
17 | Electrical RM - Receptacles | Plug-Load
18 | Dressing RM 2 - Receptacles | Plug-Load
19 | Electrical RM - Data Rack REC. | Plug-Load
20 | Dressing RM 2 - Receptacles | Plug-Load
21 | Electrical RM - Data Rack REC. | Plug-Load
22 | AK Arena - Existing Press Box REC. | Plug-Load
23 | Storage RM - Washer | Plug-Load
24 | AK Arena - Existing Press Box REC. | Plug-Load
25 | Storage RM - Dryer | Other
26 | Exhaust Fan EF-5 N | HVAC
27 | Storage RM - Dryer | Other
28 | Spare in Junction | Spare/in-active
29 | Receptacles | Plug-Load
30 | Staff Office 136 - Receptacle | Plug-Load
31 | Storage RM - Receptacles | Plug-Load
32 | Staff Office 130 - Wavelinx Controllers | Other
33 | Spare In Junction | Spare/in-active
34 | Staff Office 130 - Wavelinx Controllers | Other
35 | Spare In Junction | Spare/in-active
36 | Dressing RM 1 - Hand Dryer | Other
37 | Corridor - Housekeeping | Other
38 | Dressing RM 2 - Hand Dryer | Other
39 | Plug Rear Entrance Between Two Benches | Other
40 | Dressing RM 1- & 2 Showers | Other
41 | Storage 155 - Convenience | Other
42 | Flex Room 133 - Hand Dryer | Other
43 | Dressing RM 4 - Receptacles | Plug-Load
44 | Flex Room 133 - Showers | Other
45 | Dressing RM 5-6 REF - GFI REC. | Plug-Load
46 | Dressing RM 3 - Hand Dryer | Other
47 | Dressing RM 3, REF - RM REC. | Plug-Load
48 | Dressing Room 3 & 4 Shower | Other
49 | Spare in Junction | Spare/in-active
50 | Dressing Room 4 - Hand Dryer | Other
51 | Spare Set In Junction Box Above | Spare/in-active
52 | Lobby - Existing Vending Machine | Plug-Load
53 | Spare Set In Junction Box Above | Spare/in-active
54 | Lobby - Existing Vending Machine | Plug-Load
55 | Spare Set In Junction Box Above | Spare/in-active
56 | Lobby - Existing Vending Machine | Plug-Load
57 | Spare Set In Junction Box Above | Spare/in-active
58 | New Drinking Fountain | Other
59 | Spare Set In Junction Box Above | Spare/in-active
60 | Spare in Junction | Spare/in-active
61 | Spare Set In Junction Box Above | Spare/in-active
62 | AK Arena Snow Panel Receptacles (Sprinkler Room Wall) | Plug-Load
63 | Alex Kaleta Arena RREC Midlle Bleachers Snow Panel | Other
64 | AK Arena Snow Panel Receptacles (Sprinkler Room Wall) | Plug-Load
65 | Alex Kaleta Arena RREC Midlle Bleachers Snow Panel | Other
66 | Heat 140ks | Other
67 | Spare | Spare/in-active
68 | Heat 140ks | Other
69 | Space | Spare/in-active
70 | Heat 142 Staff | Other
71 | Space | Spare/in-active
72 | Heat 142 Staff | Other
73 | Space | Spare/in-active
74 | Space | Spare/in-active
75 | Space | Spare/in-active
76 | Space | Spare/in-active
77 | Space | Spare/in-active
78 | Space | Spare/in-active
79 | Space | Spare/in-active
80 | Space | Spare/in-active
81 | Space | Spare/in-active
82 | Space | Spare/in-active
83 | Panel Plug | Plug-Load
84 | Space | Spare/in-active

## M6A
M6A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | (162b) CUH-1 Rear Entrance | HVAC
2 | (175) TC Ice Lights Row 2/3 East | Lighting
3 | (148) CUH-4 Center Stairs | HVAC
4 | (175) TC Ice Lights Row 1 East | Lighting
5 | Exterior Lighting | Lighting
6 | (175) TC Ice Lights Row 5/6 West | Lighting
7 | RTU-6 Dressing RMS (166-171) | HVAC
8 | (175) TC Ice Lights Row 4 West | Lighting
9 | RTU-6 Dressing RMS (166-171) | HVAC
10 | Spare | Spare/in-active
11 | RTU-6 Dressing RMS (166-171) | HVAC
12 | Spare | Spare/in-active
13 | (175) EF4 South TC FF3 (Roof TC) | HVAC
14 | (175) TC Exit Lights | Lighting
15 | (175) EF4 South TC FF3 (Roof TC) | HVAC
16 | - | Spare/in-active
17 | (175) EF4 South TC FF3 (Roof TC) | HVAC
18 | - | Spare/in-active
19 | Transformer H | Other
20 | - | Spare/in-active
21 | Transformer H | Other
22 | - | Spare/in-active
23 | Transformer H | Other
24 | - | Spare/in-active
25 | 347 V Test Plug (beside pnl) | Plug-Load
26 | - | Spare/in-active
27 | - | Spare/in-active
28 | - | Spare/in-active
29 | - | Spare/in-active
30 | - | Spare/in-active
31 | - | Spare/in-active
32 | - | Spare/in-active
33 | - | Spare/in-active
34 | - | Spare/in-active
35 | - | Spare/in-active
36 | - | Spare/in-active
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active
41 | - | Spare/in-active
42 | - | Spare/in-active

## M2A
M2A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | Ice Resurfacer RM - LGT | Lighting
2 | Ice Resurfacer - Existing Flue Fan REC. | Plug-Load
3 | Dressing RM - LGT | Lighting
4 | Olympia RM UHE Lennox | HVAC
5 | Dressing RM - LGT | Lighting
6 | Overhead Door | Other
7 | Eagles Dressing RM - LGT | Lighting
8 | North Arena Plug | Plug-Load
9 | TC Arena Scorelock Light 24H | Other
10 | Heat Trace (Ice Pit RM) | Other
11 | TC Arena Dressing Emergency Lighting | Lighting
12 | Ice Resurfacer - Existing Vehicle Refueling Station | Other
13 | Dressing RM - REC - Cancucks | Plug-Load
14 | Ice Resurfacer - Existing Vehicle Refueling Station | Other
15 | Dressing RM - REC - Flames | Plug-Load
16 | Ice Resurfacer - Existing EF-1 | HVAC
17 | Dressing RM - REC - Oilers | Plug-Load
18 | Ice Resurfacer - Existing EF-2 | HVAC
19 | Dressing RM - REC - Canadian | Plug-Load
20 | Ice Resurfacer - Small Sump Pit | Other
21 | Dressing RM - 7, 8 Recep. | Plug-Load
22 | Ice Resurfacer - Ice Melt Sump | Other
23 | Dressing RM - 7, 8 Recep. | Plug-Load
24 | Small Sump Controller REC. | Plug-Load
25 | Conv. Recep. Outside Trainer RM | Plug-Load
26 | Ice Resurfacer - Existing Welder Receptacle | Plug-Load
27 | Eagles Trainer RM Recep. | Plug-Load
28 | Ice Resurfacer - Existing Welder Receptacle | Plug-Load
29 | Eagles Office Rm- TV | Plug-Load
30 | Milling Machine | Other
31 | Space | Spare/in-active
32 | Milling Machine | Other
33 | Eagles Storage - Existing Washer REC. | Plug-Load
34 | Ice Resurfacer - EX. Fourplex Bench | Other
35 | Eagles Storage - Existing Dryer Receptacle | Plug-Load
36 | Ice Resurfacer - Existing Compressor | Other
37 | Eagles Storage - Existing Dryer Receptacle | Plug-Load
38 | Ice Resurfacer - Existing Compressor | Other
39 | Bench Grinder | Other
40 | TC Arena - Existing Event Receptacles - Snow Panel | Other
41 | Spare | Spare/in-active
42 | TC Arena - Existing Event Receptacles - Snow Panel | Other
43 | Ice Resurfacer RM 157 - Receptacles | Plug-Load
44 | TC Arena - North Arena REC. | Plug-Load
45 | (UH-9) UH North East | HVAC
46 | TC Arena - Existing Plugs East Arena | Plug-Load
47 | (UH-10) UH North West | HVAC
48 | TC Arena -Scoreclock (soccer) | Other
49 | SW Arena Plug & West Plug | Plug-Load
50 | TC Arena - Existing East Arena REC. | Plug-Load
51 | Gas Heater / Scorekeep Receptacle | Plug-Load
52 | Aqua Source | Other
53 | Scorekeeper Plug | Plug-Load
54 | TC Arena - Existing Heater | HVAC
55 | Olympic RM - Garage Door Receptacle | Plug-Load
56 | Recirculation On Pump #2 | Pumps & Motors
57 | Spare | Spare/in-active
58 | TC Arena - CO2/EF-3/EF-4 | HVAC
59 | Heat Trace Ammonia Pipe PM | Other
60 | Heat Trace (Ice Plant Eye Wash) | Other
61 | Spare | Spare/in-active
62 | Heat Trace (Ice Plant Eye Wash) | Other
63 | Spare | Spare/in-active
64 | Spare | Spare/in-active
65 | Spare | Spare/in-active
66 | Heat Trace (Pre-Heat Loop) | Other
67 | Space | Spare/in-active
68 | Heat Trace (Pre-Heat Loop) | Other
69 | Space | Spare/in-active
70 | Spare | Spare/in-active
71 | UH-7 | HVAC
72 | Plug | Plug-Load
73 | Spare | Spare/in-active
74 | Ice Plant heat Trace | Other
75 | Ammonia Sensor Door #8/UH-8 | Other
76 | Ice Plant heat Trace | Other
77 | Spare | Spare/in-active
78 | Spare | Spare/in-active
79 | Hot Water 2 | Other
80 | Spare | Spare/in-active
81 | Recirculation Pump #1 | Pumps & Motors
82 | Spare | Spare/in-active
83 | Hot Water 1 | Other
84 | Spare | Spare/in-active

## House Panel
House Panel
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | Receptacle | Plug-Load
2 | Panel A Control | Other
3 | Panel A Computer | Other
4 | Panel A EX FN CONT. | Other
5 | Receptacle | Plug-Load
6 | Panel A CRNK CASE HRTS | Other
7 | Receptacle | Plug-Load
8 | Vestibule Heater | HVAC
9 | Gas Detection Control Panel 9 | Other
10 | Lights | Lighting