## Unnamed 1
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | North Stage Plugs | Plug-Load
2 | North West Stage Plugs, Storage | Plug-Load
3 | Emergency East | Lighting
4 | Corridor Plug And Community | Plug-Load
5 | Stage Lights, Storage, Corridor | Lighting
6 | Outside Plug North East | Plug-Load
7 | Stage Pendent Lights | Lighting |  | Lighting
8 | Outside Plug North West | Plug-Load |  | Plug-Load
9 | North East Storage Lights | Lighting |  | Spare/in-active
10 | - | Spare/in-active |  | HVAC
11 | Track Lights | Lighting |  | Boiler/DHW
12 | North East Stage Plug | Plug-Load |  | Pumps & Motors
13 | Track Lights | Lighting |  | Panel/Sub-Panel
14 | Control RM Plug | Plug-Load |  | Other
15 | Outside Plug North East | Plug-Load
16 | Community Hall Plug | Plug-Load
17 | Range Plug On Stage | Plug-Load
18 | Outside Plug North | Plug-Load
19 | Range Plug On Stage | Plug-Load
20 | - | Spare/in-active
21 | Range Plug On Stage | Plug-Load
22 | - | Spare/in-active
23 | Range Plug On Stage | Plug-Load
24 | - | Spare/in-active
25 | Emergency Light N.W. | Lighting
26 | - | Spare/in-active
27 | - | Spare/in-active
28 | - | Spare/in-active
29 | - | Spare/in-active
30 | - | Spare/in-active
31 | - | Spare/in-active
32 | - | Spare/in-active
33 | - | Spare/in-active
34 | - | Spare/in-active
35 | - | Spare/in-active
36 | - | Spare/in-active
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active
41 | - | Spare/in-active
42 | - | Spare/in-active

## Unnamed 2
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | Mech RM Lights | Lighting
2 | OUTSIDE PLUG | Plug-Load
3 | EMERGENCY LIGHTS | Lighting
4 | MEETING RM PLUG (SOUTH) | Plug-Load
5 | Meeting RM Lights | Lighting
6 | Meeting RM Lights | Lighting |  | Lighting
7 | Circulating Pump | Pumps & Motors |  | Plug-Load
8 | Meeting RM WEST WALL PLUG | Plug-Load |  | Spare/in-active
9 | Washer | Other |  | HVAC
10 | Meeting RM COUNTER PLUG | Plug-Load |  | Boiler/DHW
11 | POT LIGHT IN CORRIDOR | Lighting |  | Pumps & Motors
12 | Meeting RM COUNTER PLUG | Plug-Load |  | Panel/Sub-Panel
13 | SAVITOR AND STORAGE LIGHTS | Lighting |  | Other
14 | ELECTRONIC FILTER | Other
15 | Furnacel | Other
16 | Meeting RM COUNTER PLUGS N & NW | Plug-Load
17 | Furnace #2 | HVAC
18 | Furnace #4 | HVAC
19 | Furnace #3 | HVAC
20 | Furnace #5 | HVAC
21 | NORTH WALL PLUG/MEETING RM. | Plug-Load
22 | Dryer | Other
23 | MECH RM. PLUG/SANITOR RM PLUG | Plug-Load
24 | Dryer | Other
25 | Air Conditioner | HVAC
26 | - | Spare/in-active
27 | Air Conditioner / Furnace #1 | HVAC
28 | - | Spare/in-active
29 | Furnace #1 | HVAC
30 | - | Spare/in-active
31 | Air Conditioner | HVAC
32 | - | Spare/in-active
33 | Air Conditioner/Furnace #2 | HVAC
34 | - | Spare/in-active
35 | Furnace #2 | HVAC
36 | - | Spare/in-active
37 | Air Conditioner | HVAC
38 | - | Spare/in-active
39 | Air Conditioner/Furnace #4 | HVAC
40 | - | Spare/in-active
41 | Furnace #4 | HVAC
42 | - | Spare/in-active

## Unnamed 3
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | SOAP DISP. | Plug-Load
2 | Reach in Freezer | Plug-Load
3 | EMERGENCY LIGHTS | Lighting
4 | Ice Machine | Plug-Load
5 | KITCHEN LIGHTS | Lighting
6 | Furnace #6 | HVAC |  | Lighting
7 | KITCHEN LIGHTS | Lighting |  | Plug-Load
8 | Dishwasher | Plug-Load |  | Spare/in-active
9 | DART LIGHTS / MECH RM STD | Lighting |  | HVAC
10 | Dishwasher | Plug-Load |  | Boiler/DHW
11 | GOLD ROOM LIGHTS | Lighting |  | Pumps & Motors
12 | Dishwasher | Plug-Load |  | Panel/Sub-Panel
13 | GOLD ROOM LIGHTS | Lighting |  | Other
14 | KITCHEN EXHAUST | HVAC
15 | GOLD ROOM LIGHTS | Lighting
16 | KITCHEN EXHAUST | HVAC
17 | BAR AND SOUND ROOM | Other
18 | KITCHEN EXHAUST | HVAC
19 | MAIN WASHROOM LIGHTS | Lighting
20 | BOOSTER DISHWASHER | Plug-Load
21 | Foyer Valence Lights | Lighting
22 | BOOSTER DISHWASHER | Plug-Load
23 | Foyer Pot Lights | Lighting
24 | BOOSTER DISHWASHER | Plug-Load
25 | Entrance Pot Lights | Lighting
26 | Mech. RM. PLUG | Plug-Load
27 | GOLD ROOM SOULTH LIGHTS | Lighting
28 | Storage RM. Lights | Lighting
29 | ELECTRONIC FILTER | Other
30 | - | Spare/in-active
31 | GOLD RM. EXHAUST FAN | HVAC
32 | A.G.T PLUG | Plug-Load
33 | GOLD RM. TV PLUG | Plug-Load
34 | A.G.T PLUG | Plug-Load
35 | STORAGE RM PLUG | Plug-Load
36 | - | Spare/in-active
37 | WASROOM EXHAUST FAN | HVAC
38 | - | Spare/in-active
39 | OUTSIDE PLUG | Plug-Load
40 | - | Spare/in-active
41 | Foyer Plug Drinking Foun. | Other
42 | - | Spare/in-active

## Unnamed 4
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | COOLER FAN | HVAC
2 | NORTH KITCHEN / 20AMP PLUG | Plug-Load
3 | COMPRESSOR | Other
4 | NORTH KITCHEN / 20AMP PLUG | Plug-Load
5 | COMPRESSOR | Other |  | Lighting
6 | ISLAND PLUG | Plug-Load |  | Plug-Load
7 | AS #9 / Hand Dryer | Other |  | Spare/in-active
8 | ISLAND PLUG | Plug-Load |  | HVAC
9 | COUNTER PLUGS | Plug-Load |  | Boiler/DHW
10 | F.A. PLUG | Plug-Load |  | Pumps & Motors
11 | COUNTER PLUGS / BAR NORTH | Plug-Load |  | Panel/Sub-Panel
12 | 20AMP SERVER PLUG | Plug-Load |  | Other
13 | EAST WALL PLUG IN SOUND RM. | Plug-Load
14 | GOLD RM SOUTH WALL PLUG | Plug-Load
15 | WEST WALL PLUG IN SOUND RM. | Plug-Load
16 | GOLD RM PLUG & KITCHEN | Plug-Load
17 | WASHROOM PLUG | Plug-Load
18 | COMMUNITY HALL SOUTH PLUG | Plug-Load
19 | MIXER | Other
20 | FLOOR PLUG COMMUNITY HALL | Plug-Load
21 | CONVECTION OVEN | Plug-Load
22 | FLOOR PLUG COMMUNITY HALL | Plug-Load
23 | KITCHEN FAN | Plug-Load
24 | FLOOR PLUG COMMUNITY HALL | Plug-Load
25 | KITCHEN SERVER | Plug-Load
26 | KITCHEN PLUG / 20AMP NORTH | Plug-Load
27 | BAR PLUG | Plug-Load
28 | F.U. #7 / M.U.A | HVAC
29 | PANEL PLUG | Plug-Load
30 | F.U. #7 / M.U.A | HVAC
31 | - | Spare/in-active
32 | HALL PLUG N. OUTSIDE KIT. | Plug-Load
33 | - | Spare/in-active
34 | HALL PLUG W. OUTSIDE KIT. | Plug-Load
35 | - | Spare/in-active
36 | DOUGH PLUG | Plug-Load
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active
41 | - | Spare/in-active
42 | - | Spare/in-active