## CDP 2CA
CDP 2CA
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | - | Spare/in-active
2 | - | Spare/in-active
3 | - | Spare/in-active
4 | - | Spare/in-active
5 | - | Spare/in-active
6 | - | Spare/in-active
7 | - | Spare/in-active
8 | - | Spare/in-active
9 | - | Spare/in-active
10 | - | Spare/in-active
11 | - | Spare/in-active
12 | - | Spare/in-active
13 | - | Spare/in-active
14 | - | Spare/in-active
15 | - | Spare/in-active
16 | - | Spare/in-active
17 | - | Spare/in-active
18 | - | Spare/in-active
19 | - | Spare/in-active
20 | ENTRANCE DOOR HEATER | HVAC
21 | - | Spare/in-active
22 | ENTRANCE DOOR HEATER | HVAC
23 | - | Spare/in-active
24 | ENTRANCE DOOR HEATER | HVAC
25 | - | Spare/in-active
26 | ENTRANCE DOOR HEATER | HVAC
27 | - | Spare/in-active
28 | ENTRANCE DOOR HEATER | HVAC
29 | - | Spare/in-active
30 | ENTRANCE DOOR HEATER | HVAC
31 | - | Spare/in-active
32 | - | Spare/in-active
33 | - | Spare/in-active
34 | - | Spare/in-active
35 | - | Spare/in-active
36 | - | Spare/in-active
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active
41 | - | Spare/in-active
42 | - | Spare/in-active

## CDP 6CA
CDP 6CA
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | C6MA | Panel/Sub-Panel
2 | C6A | Panel/Sub-Panel
3 | C6B | Panel/Sub-Panel
4 | AHU-1 | HVAC
5 | TRANSFORMER T3 | Other
6 | SPARE | Spare/in-active
7 | CU-1 | Other

## C2A
C2A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | - | Spare/in-active
2 | WASHROOMS T-SLOT | Plug-Load
3 | MAIN CORRIDOR T-SLOT | Plug-Load
4 | WASHROOMS GFI | Plug-Load
5 | MAIN CORRIDOR T-SLOT | Plug-Load
6 | - | Spare/in-active
7 | MAIN CORRIDOR T-SLOT | Plug-Load
8 | OFFICE RCPT | Plug-Load
9 | RECEPTION RCPT | Plug-Load
10 | FLEX ROOM RCPT | Plug-Load
11 | RECEPTION RCPT | Plug-Load
12 | FLEX ROOM RCPT | Plug-Load
13 | WAITING RCPT | Plug-Load
14 | FLEX ROOM RCPT | Plug-Load
15 | WAITING RCPT | Plug-Load
16 | FLEX ROOM RCPT | Plug-Load
17 | LIFEGUARD GFI | Plug-Load
18 | - | Spare/in-active
19 | LIFEGUARD T-SLOT | Plug-Load
20 | FACP | Plug-Load
21 | LIFEGUARD ROOM RCPT | Plug-Load
22 | STAIRWELL T-SLOT | Plug-Load
23 | STAFF RM RCPT | Plug-Load
24 | EF-20 | Spare/in-active
25 | STAFF RM T-SLOT | Plug-Load
26 | TRAINING ROOM T-SLOT | Plug-Load
27 | STAFF RM GFI | Plug-Load
28 | TRAINING ROOM T-SLOT | Plug-Load
29 | STAFF RM GFI | Plug-Load
30 | TRAINING ROOM T-SLOT | Plug-Load
31 | CORRIDOR T-SLOT | Plug-Load
32 | TRAINING ROOM T-SLOT | Plug-Load
33 | CHANGE ROOM GFI | Plug-Load
34 | TRAINING ROOM T-SLOT | Plug-Load
35 | CHANGE ROOM GFI | Plug-Load
36 | TRAINING ROOM T-SLOT | Plug-Load
37 | CHANGE ROOM T-SLOT | Plug-Load
38 | TRAINING ROOM T-SLOT | Plug-Load
39 | CHANGE ROOM T-SLOT | Plug-Load
40 | TRAINING ROOM T-SLOT | Plug-Load
41 | CH-1 VESTIBULE HEATER | HVAC
42 | TRAINING ROOM T-SLOT | Plug-Load
43 | DOOR OPERATOR VESTIB. | Other
44 | TRAINING ROOM T-SLOT | Plug-Load
45 | VESTIBULE RCPT | Plug-Load
46 | BLOCK HRT FIRE PUMP | Pumps & Motors
47 | DOOR OPERATOR | Other
48 | - | Spare/in-active
49 | FAMILY CHANGE T-SLOT | Plug-Load
50 | - | Spare/in-active
51 | FAMILY CHANGE GFI | Plug-Load
52 | STAFF RM FRIDGE | Plug-Load
53 | LINEN RCPT | Plug-Load
54 | STAFF RM DISHWASHER | Plug-Load
55 | SP-1 | Boiler/DHW
56 | DWH-1 | Boiler/DHW
57 | - | Spare/in-active
58 | DWH-2 | Boiler/DHW
59 | FIRE DOORS BREEZEWAY | Other
60 | DWH-3 | Boiler/DHW
61 | - | Spare/in-active
62 | - | Spare/in-active
63 | - | Spare/in-active
64 | - | Spare/in-active
65 | RECEPTION RCPT. | Plug-Load
66 | - | Spare/in-active
67 | SMOOTHIE BAR GFI | Plug-Load
68 | EF-16/ DAMPER CONTROL | HVAC
69 | SMOOTHIE BAR RCPT. | Plug-Load
70 | SPARE IN ELEC ROOM | Spare/in-active
71 | - | Spare/in-active
72 | CH-18 | Other
73 | - | Spare/in-active
74 | SPARE IN ELEC ROOM | Spare/in-active
75 | TV RECPT. | Plug-Load
76 | WATER BOTTLE FILLER | Other
77 | TV RECPT. | Plug-Load
78 | ROLL DOORS | Other
79 | TV RECPT. | Plug-Load
80 | PARTY ROOM RCPT. | Plug-Load
81 | TV RECPT. | Plug-Load
82 | PARTY ROOM RCPT. | Plug-Load
83 | SMOOTHIE DISHWASHER | Plug-Load
84 | PARTY ROOM RCPT. | Plug-Load
85 | SMOOTHIE DISHWASHER | Plug-Load
86 | SALAD TABLE | Plug-Load
87 | SMOOTHIE DISHWASHER | Plug-Load
88 | ICE CREAM CABINET | Plug-Load
89 | BLENDER RCPT. | Plug-Load
90 | DISPLAY CASE | Plug-Load
91 | BLENDER RCPT. | Plug-Load
92 | PANINI GRILL | Plug-Load
93 | BLENDER RCPT. | Plug-Load
94 | COOLER | Plug-Load
95 | COOLER | Plug-Load
96 | JUICE MACHINE | Plug-Load
97 | ICE MACHINE | Plug-Load
98 | REACH-IN FREEZER | Plug-Load
99 | FIRE PUMP CONTROL PANEL | Panel/Sub-Panel
100 | EVO PLUS PUMP (GLYCOL) | Pumps & Motors
101 | TK-1/BMS RCPT | Plug-Load
102 | EVO PLUS PUMP (GLYCOL) | Pumps & Motors
103 | RECIRC PUMP | Pumps & Motors
104 | EF-13 | HVAC
105 | LV CONTROLS PWR | Other
106 | EF-13 | HVAC
107 | BP-1 BOILER PUMP | Pumps & Motors
108 | B-1 BOILER | Boiler/DHW
109 | BP-1 BOILER PUMP | Pumps & Motors
110 | B-1 BOILER | Boiler/DHW
111 | BP-1 BOILER PUMP | Pumps & Motors
112 | B-1 BOILER | Boiler/DHW
113 | BP-2 BOILER PUMP | Pumps & Motors
114 | B-2 BOILER | Boiler/DHW
115 | BP-2 BOILER PUMP | Pumps & Motors
116 | B-2 BOILER | Boiler/DHW
117 | BP-2 BOILER PUMP | Pumps & Motors
118 | B-2 BOILER | Boiler/DHW
119 | - | Spare/in-active
120 | SPARE IN ELEC ROOM | Spare/in-active

## SP2A
SP2A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | YARD LIGHT RCPT | Plug-Load
2 | ELEV. PIT LIGHT&RCPT | Lighting
3 | YARD LIGHT RCPT | Plug-Load
4 | ELEV. TOP LIGHT&RCPT | Lighting
5 | - | Spare/in-active
6 | ELEV. SHAFT EX. FAN | Spare/in-active
7 | - | Spare/in-active
8 | ELEV CAR POWER | Other
9 | DATA BOARD RCPT | Plug-Load
10 | - | Spare/in-active
11 | - | Spare/in-active
12 | - | Spare/in-active
13 | - | Spare/in-active
14 | - | Spare/in-active
15 | - | Spare/in-active
16 | - | Spare/in-active
17 | - | Spare/in-active
18 | - | Spare/in-active
19 | - | Spare/in-active
20 | - | Spare/in-active
21 | - | Spare/in-active
22 | - | Spare/in-active
23 | - | Spare/in-active
24 | - | Spare/in-active
25 | - | Spare/in-active
26 | - | Spare/in-active
27 | - | Spare/in-active
28 | - | Spare/in-active
29 | - | Spare/in-active
30 | - | Spare/in-active
31 | - | Spare/in-active
32 | - | Spare/in-active
33 | - | Spare/in-active
34 | - | Spare/in-active
35 | - | Spare/in-active
36 | - | Spare/in-active
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active
41 | - | Spare/in-active
42 | - | Spare/in-active

## SL6A
SL6A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | EXT. LIGHTS CORE/WEST H.A | Lighting
2 | CONTROL PWR | Other
3 | NORTH H.A/ALL F.H. | Other
4 | PARKING LOT Y.L. | Other
5 | NORTH & EAST A.C. | Other
6 | - | Spare/in-active
7 | - | Spare/in-active
8 | WEST F.H. Y.L. | Other
9 | FRONT ENTRANCE Y.L. | Other
10 | EAST F.H. Y.L. | Other
11 | SOUTH H.A. | Other
12 | - | Spare/in-active
13 | SOUTH A.C. | Other
14 | - | Spare/in-active
15 | - | Spare/in-active
16 | - | Spare/in-active
17 | - | Spare/in-active
18 | - | Spare/in-active
19 | TRANSFORMER T5 | Other
20 | - | Spare/in-active
21 | TRANSFORMER T5 | Other
22 | - | Spare/in-active
23 | TRANSFORMER T5 | Other
24 | - | Spare/in-active
25 | - | Spare/in-active
26 | - | Spare/in-active
27 | - | Spare/in-active
28 | - | Spare/in-active
29 | - | Spare/in-active
30 | - | Spare/in-active
31 | - | Spare/in-active
32 | - | Spare/in-active
33 | - | Spare/in-active
34 | - | Spare/in-active
35 | - | Spare/in-active
36 | - | Spare/in-active
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active
41 | - | Spare/in-active
42 | - | Spare/in-active

## C6A
C6A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | CORE MAIN LIGHTING | Lighting
2 | CORE NIGHT LIGHTS | Lighting
3 | FLEX/ELEC/MECH LIGHTING | Lighting
4 | CORE EXIT LIGHTS | Lighting
5 | TRAINING & CHANGE ROOMS | Other
6 | LV PANEL POWER | Panel/Sub-Panel
7 | - | Spare/in-active
8 | - | Spare/in-active
9 | - | Spare/in-active
10 | - | Spare/in-active
11 | - | Spare/in-active
12 | - | Spare/in-active
13 | - | Spare/in-active
14 | - | Spare/in-active
15 | - | Spare/in-active
16 | - | Spare/in-active
17 | - | Spare/in-active
18 | - | Spare/in-active
19 | - | Spare/in-active
20 | - | Spare/in-active
21 | - | Spare/in-active
22 | - | Spare/in-active
23 | - | Spare/in-active
24 | - | Spare/in-active
25 | - | Spare/in-active
26 | - | Spare/in-active
27 | - | Spare/in-active
28 | - | Spare/in-active
29 | - | Spare/in-active
30 | - | Spare/in-active
31 | - | Spare/in-active
32 | - | Spare/in-active
33 | - | Spare/in-active
34 | - | Spare/in-active
35 | - | Spare/in-active
36 | - | Spare/in-active
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active

## C6MA
C6MA
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | GLYCOL CHILLER UNIT (GC-1) | HVAC
2 | HEATING PUMP (P-1) | Pumps & Motors
3 | GLYCOL CHILLER UNIT (GC-1) | HVAC
4 | HEATING PUMP (P-1) | Pumps & Motors
5 | GLYCOL CHILLER UNIT (GC-1) | HVAC
6 | HEATING PUMP (P-1) | Pumps & Motors
7 | - | Spare/in-active
8 | HEATING PUMP (P-2) | Pumps & Motors
9 | - | Spare/in-active
10 | HEATING PUMP (P-2) | Pumps & Motors
11 | - | Spare/in-active
12 | HEATING PUMP (P-2) | Pumps & Motors
13 | - | Spare/in-active
14 | - | Spare/in-active
15 | - | Spare/in-active
16 | - | Spare/in-active
17 | - | Spare/in-active
18 | - | Spare/in-active
19 | - | Spare/in-active
20 | - | Spare/in-active
21 | - | Spare/in-active
22 | - | Spare/in-active
23 | - | Spare/in-active
24 | - | Spare/in-active
25 | - | Spare/in-active
26 | - | Spare/in-active
27 | - | Spare/in-active
28 | - | Spare/in-active
29 | - | Spare/in-active
30 | - | Spare/in-active
31 | - | Spare/in-active
32 | - | Spare/in-active
33 | - | Spare/in-active
34 | - | Spare/in-active
35 | - | Spare/in-active
36 | - | Spare/in-active
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active
41 | - | Spare/in-active
42 | - | Spare/in-active

## F6A
F6A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | EXIT LIGHTS | Lighting
2 | NIGHT LIGHTS | Lighting
3 | GYMNASIUM LIGHTS | Lighting
4 | ELEC/MECH/BANK LIGHTS | Lighting
5 | GYMNASIUM LIGHTS | Lighting
6 | CHANGE ROOM LIGHTS | Lighting
7 | GYMNASIUM LIGHTS | Lighting
8 | - | Spare/in-active
9 | GYMNASIUM LIGHTS | Lighting
10 | - | Spare/in-active
11 | GYMNASIUM LIGHTS | Lighting
12 | - | Spare/in-active
13 | - | Spare/in-active
14 | - | Spare/in-active
15 | - | Spare/in-active
16 | - | Spare/in-active
17 | - | Spare/in-active
18 | - | Spare/in-active
19 | - | Spare/in-active
20 | - | Spare/in-active
21 | - | Spare/in-active
22 | - | Spare/in-active
23 | - | Spare/in-active
24 | - | Spare/in-active
25 | - | Spare/in-active
26 | - | Spare/in-active
27 | - | Spare/in-active
28 | - | Spare/in-active
29 | - | Spare/in-active
30 | - | Spare/in-active
31 | - | Spare/in-active
32 | - | Spare/in-active
33 | - | Spare/in-active
34 | - | Spare/in-active
35 | - | Spare/in-active
36 | - | Spare/in-active
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active
41 | - | Spare/in-active
42 | - | Spare/in-active

## F2A
F2A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | FIELD HOUSE T-SLOT | Plug-Load
2 | - | Spare/in-active
3 | FIELD HOUSE T-SLOT | Plug-Load
4 | CHANGE ROOM T-SLOT | Plug-Load
5 | FIELD HOUSE T-SLOT | Plug-Load
6 | CHANGE ROOM GFI | Plug-Load
7 | ELECTRICAL ROOM RCPT. | Plug-Load
8 | CHANGE ROOM T-SLOT | Plug-Load
9 | FOOD BANK RCPT. | Plug-Load
10 | CHANGE ROOM GFI | Plug-Load
11 | AHU-2 SERVICE RCTP | Plug-Load
12 | CHANGE ROOM T-SLOT | Plug-Load
13 | PA RCPT | Plug-Load
14 | FIELD HOUSE RCPT | Plug-Load
15 | WATER BOTTLE FILLER | Other
16 | FIELD HOUSE RCPT | Plug-Load
17 | CAR PLUGS | Plug-Load
18 | - | Spare/in-active
19 | CAR PLUGS | Plug-Load
20 | - | Spare/in-active
21 | CAR PLUGS | Plug-Load
22 | - | Spare/in-active
23 | - | Spare/in-active
24 | - | Spare/in-active
25 | - | Spare/in-active
26 | - | Spare/in-active
27 | - | Spare/in-active
28 | - | Spare/in-active
29 | - | Spare/in-active
30 | - | Spare/in-active
31 | - | Spare/in-active
32 | - | Spare/in-active
33 | - | Spare/in-active
34 | - | Spare/in-active
35 | - | Spare/in-active
36 | - | Spare/in-active
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active
41 | - | Spare/in-active
42 | - | Spare/in-active

## F2B
F2B
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | CH-3 | HVAC
2 | EF-9 | HVAC
3 | LV CONTROL PWR | Panel/Sub-Panel
4 | - | Spare/in-active
5 | EF-2 | HVAC
6 | EF-11 | HVAC
7 | EF-1 | HVAC
8 | - | Spare/in-active
9 | UH-1 | HVAC
10 | - | Spare/in-active
11 | - | Spare/in-active
12 | - | Spare/in-active
13 | CH-5 | HVAC
14 | - | Spare/in-active
15 | - | Spare/in-active
16 | - | Spare/in-active
17 | - | Spare/in-active
18 | - | Spare/in-active
19 | EF-8 | HVAC
20 | - | Spare/in-active
21 | CH-6 | HVAC
22 | - | Spare/in-active
23 | - | Spare/in-active
24 | - | Spare/in-active
25 | - | Spare/in-active
26 | - | Spare/in-active
27 | - | Spare/in-active
28 | - | Spare/in-active
29 | - | Spare/in-active
30 | - | Spare/in-active
31 | - | Spare/in-active
32 | - | Spare/in-active
33 | - | Spare/in-active
34 | - | Spare/in-active
35 | - | Spare/in-active
36 | - | Spare/in-active
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active
41 | - | Spare/in-active
42 | - | Spare/in-active

## CDP-2FA
CDP-2FA
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | F2A | Panel/Sub-Panel
2 | F2B | Panel/Sub-Panel
3 | SPARE | Spare/in-active

## CDP-6FA
CDP-6FA
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | TRANSFORMER T2 | Other
2 | F6A | Panel/Sub-Panel
3 | SPARE | Other
4 | AHU-2 | Panel/Sub-Panel

## Panel P2B
Panel P2B
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | WP CHEM CONTROLLER | Other
2 | P-2 25M CHLORINE | Other
3 | LP CHEM CONTROLLER | Other
4 | P-2 25M CHLORINE | Other
5 | 25M CHEM CONTROLLER | Other
6 | P-4 LP CHLORINE | Other
7 | LEVEL CONTROLLER | Other
8 | P-4 LP CHLORINE | Other
9 | LV CONTROLS / BMS PWR | Panel/Sub-Panel
10 | P-11 WP CHLORINE | Other
11 |  | Spare/in-active
12 | P-11 WP CHLORINE | Other
13 | P-16 SODA ASH MIXER | Other
14 | LP UV CABINET | Other
15 |  | Spare/in-active
16 | LP UV CABINET | Other
17 | MOTOR CONTROLS | Panel/Sub-Panel
18 | WP UV CABINET | Other
19 | MOTOR CONTROLS | Panel/Sub-Panel
20 | WP UV CABINET | Other

## Panel P2A
Panel P2A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | POOL T-SLOT | Plug-Load
2 | ELEC ROOM RCPT | Plug-Load
3 | POOLT-SLOT / W.B. FILLER | Plug-Load
4 | POOL MECH ROOM RCPT | Plug-Load
5 | POOL T-SLOT | Plug-Load
6 | UH-8 | HVAC
7 | POOL T-SLOT | Plug-Load
8 | UH-9 | HVAC
9 | SP-2 | HVAC
10 | SERVICE RCPT | Plug-Load
11 | EF-19 | HVAC
12 | SERVICE/EXT. RCPT | Plug-Load
13 | EF-9 | HVAC
14 | - | Spare/in-active
15 | GD-3 | HVAC
16 | UH-10 | HVAC
17 | LIFEGUARD RCPT | Plug-Load
18 | EXTERIOR RCPT | Plug-Load
19 | - | Spare/in-active
20 | POOL FURNITURE | Other
21 | COMPETITION CLOCK | Other
22 | WASHER | Other
23 | - | Spare/in-active
24 | - | Spare/in-active
25 | CAR PLUGS | Plug-Load
26 | STEAMER CONTROL | Spare/in-active
27 | CAR PLUGS | Plug-Load
28 | SAUNA/STEAM LIGHTS | Lighting
29 | - | Spare/in-active
30 | DRYER | Other
31 | - | Spare/in-active
32 | DRYER | Other
33 | - | Spare/in-active
34 | STEAMER RCPT | Plug-Load
35 | - | Spare/in-active
36 | - | Spare/in-active
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active
41 | - | Spare/in-active
42 | - | Spare/in-active

## Panel P6MA
Panel P6MA
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | - | Spare/in-active
2 | P-1 LAP CIRC | Pumps & Motors
3 | - | Spare/in-active
4 | P-1 LAP CIRC | Pumps & Motors
5 | - | Spare/in-active
6 | P-1 LAP CIRC | Pumps & Motors
7 | P-5,6 LAZY RIVER | Pumps & Motors
8 | P-3 LEISURE CIRC | Pumps & Motors
9 | P-5,6 LAZY RIVER | Pumps & Motors
10 | P-3 LEISURE CIRC | Pumps & Motors
11 | P-5,6 LAZY RIVER | Pumps & Motors
12 | P-3 LEISURE CIRC | Pumps & Motors
13 | P-10 WHIRLPOOL CIRC | Pumps & Motors
14 | - | Spare/in-active
15 | P-10 WHIRLPOOL CIRC | Pumps & Motors
16 | - | Spare/in-active
17 | P-10 WHIRLPOOL CIRC | Pumps & Motors
18 | - | Spare/in-active
19 | P-12 WHIRLPOOL JETS | Pumps & Motors
20 | SPARE | Spare/in-active
21 | P-12 WHIRLPOOL JETS | Pumps & Motors
22 | SPARE | Spare/in-active
23 | P-12 WHIRLPOOL JETS | Pumps & Motors
24 | SPARE | Spare/in-active
25 | 25M UV CABINET | Other
26 | P-7 MASSAGE BENCH | Other
27 | 25M UV CABINET | Other
28 | P-7 MASSAGE BENCH | Other
29 | 25M UV CABINET | Other
30 | P-7 MASSAGE BENCH | Other
31 | SPARE | Spare/in-active
32 | P-8 WF ZONE 1 | Other
33 | SPARE | Spare/in-active
34 | P-8 WF ZONE 1 | Other
35 | SPARE | Spare/in-active
36 | P-8 WF ZONE 1 | Other
37 | - | Spare/in-active
38 | P-9 WF ZONE 2 | Other
39 | - | Spare/in-active
40 | P-9 WF ZONE 2 | Other
41 | - | Spare/in-active
42 | P-9 WF ZONE 2 | Other
43 | - | Spare/in-active
44 | - | Spare/in-active
45 | - | Spare/in-active
46 | - | Spare/in-active
47 | - | Spare/in-active
48 | - | Spare/in-active
49 | - | Spare/in-active
50 | - | Spare/in-active
51 | - | Spare/in-active
52 | - | Spare/in-active
53 | - | Spare/in-active
54 | - | Spare/in-active
55 | - | Spare/in-active
56 | - | Spare/in-active
57 | - | Spare/in-active
58 | - | Spare/in-active
59 | - | Spare/in-active
60 | - | Spare/in-active

## Panel P6A
Panel P6A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | EXIT LIGHTS | Lighting
2 | ELEC/STORAGE LIGHTS | Lighting
3 | NORTH MAIN LIGHTS | Lighting
4 | NIGHT LIGHTS | Lighting
5 | POOL WALL/MAIN LIGHTS | Lighting
6 | POOL MECH/EQUIP. LIGHTS | Lighting
7 | POOL WALL LIGHTS | Lighting
8 | MEZZ SPARE FOR LIGHTING | Lighting
9 | POOL WALL LIGHTS | Lighting
10 | LV RELAY PANEL PWR | Panel/Sub-Panel
11 | POOL WALL LIGHTS | Lighting
12 | - | Spare/in-active
13 | - | Spare/in-active
14 | - | Spare/in-active
15 | CENTER MAIN LIGHTS | Lighting
16 | - | Spare/in-active
17 | CENTER MAIN LIGHTS | Lighting
18 | - | Spare/in-active
19 | - | Spare/in-active
20 | - | Spare/in-active
21 | - | Spare/in-active
22 | - | Spare/in-active
23 | - | Spare/in-active
24 | - | Spare/in-active
25 | - | Spare/in-active
26 | - | Spare/in-active
27 | - | Spare/in-active
28 | - | Spare/in-active
29 | - | Spare/in-active
30 | - | Spare/in-active
31 | - | Spare/in-active
32 | - | Spare/in-active
33 | - | Spare/in-active
34 | - | Spare/in-active
35 | - | Spare/in-active
36 | - | Spare/in-active
37 | - | Spare/in-active
38 | - | Spare/in-active
39 | - | Spare/in-active
40 | - | Spare/in-active
41 | - | Spare/in-active
42 | - | Spare/in-active

## CDP-2PA
CDP-2PA
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | SPARE | Spare/in-active
2 | SPARE | Spare/in-active
3 | P2A | Panel/Sub-Panel
4 | P2B | Panel/Sub-Panel
5 | - | Spare/in-active
6 | - | Spare/in-active
7 | - | Spare/in-active
8 | - | Spare/in-active
9 | SAUNA | Other

## CDP-6PA
CDP-6PA
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | P6MA | Panel/Sub-Panel
2 | - | Spare/in-active
3 | - | Spare/in-active
4 | - | Spare/in-active
5 | - | Spare/in-active
6 | - | Spare/in-active
7 | - | Spare/in-active
8 | STEAM GEN. | Boiler/DHW
9 | P6A | Panel/Sub-Panel
10 | AHU-4 | HVAC
11 | TRANSFOMER T1 | Other
12 | - | Spare/in-active
13 | - | Spare/in-active
14 | - | Spare/in-active
15 | - | Spare/in-active
16 | - | Spare/in-active

## Panel H6A
Panel H6A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | ARENA EXIT LIGHTS | Lighting
2 | CORR. & CHANGE RM | Other
3 | ARENA NIGHT LIGHTS | Lighting
4 | - | Spare/in-active
5 | LV LIGHT PANEL | Panel/Sub-Panel
6 | PERIMETER RINK LIGHTS | Lighting
7 | RINK LIGHTING | Lighting
8 | MECH & CHANGE RM | Lighting
9 | RINK LIGHTING | Lighting
10 | MECH/STORAGE | Lighting
11 | RINK LIGHTING | Lighting
12 | TRAIN/MINI RINK/WR | Lighting
13 | RINK LIGHTING | Lighting
14 | NORTH MEZZ | Lighting
15 | RINK LIGHTING | Lighting
16 | SOUTH MEZZ | Lighting
17 | RINK LIGHTING | Lighting
18 | - | Spare/in-active
19 | RINK LIGHTING | Lighting
20 | - | Spare/in-active
21 | ARENA EXIT LIGHTS | Lighting
22 | - | Spare/in-active
23 | MEZZ NIGHT LIGHTS | Lighting
24 | - | Spare/in-active
25 | - | Spare/in-active
26 | - | Spare/in-active
27 | - | Spare/in-active
28 | - | Spare/in-active
29 | - | Spare/in-active
30 | - | Spare/in-active

## Panel H6MA
Panel H6MA
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | JOCKEY PUMP | Pumps & Motors
2 | MAU-1 | HVAC
3 | JOCKEY PUMP | Pumps & Motors
4 | MAU-1 | HVAC
5 | JOCKEY PUMP | Pumps & Motors
6 | MAU-1 | HVAC

## Panel H2B
Panel H2B
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | - | Spare/in-active
2 | DWH FOR ZAMBONI | Boiler/DHW
3 | ICE PLANT EF. CONTROLS | Panel/Sub-Panel
4 | - | Spare/in-active
5 | - | Spare/in-active
6 | CH-8 | HVAC
7 | - | Spare/in-active
8 | EF-5 | HVAC
9 | EF-25 ICE PLANT | HVAC
10 | CH-7 | HVAC
11 | CH-12 | HVAC
12 | - | Spare/in-active
13 | UH-5 | HVAC
14 | CH-6 | HVAC
15 | CH-15 | HVAC
16 | CH-5 | HVAC
17 | UH-2 | HVAC
18 | - | Spare/in-active
19 | CH-11 | HVAC
20 | CH-19 | HVAC
21 | - | Spare/in-active
22 | CH-4 | Spare/in-active
23 | EF-4 | HVAC
24 | UH-7 | HVAC
25 | SP-3 | Spare/in-active
26 | CH-14 | Spare/in-active
27 | CH-9 | Spare/in-active
28 | - | Spare/in-active
29 | CH-10 | HVAC
30 | - | Spare/in-active
31 | - | Spare/in-active
32 | CH-13 | HVAC
33 | EF-17 | HVAC
34 | - | Spare/in-active
35 | EF-18 | HVAC
36 | - | Spare/in-active
37 | CH-16&17 | HVAC
38 | EF-8 | HVAC
39 | POWER BOOSTER / LIGHT PANEL | Spare/in-active
40 | EF-8 | HVAC
41 | RT-1 TUBE HEATERS | HVAC
42 | - | Spare/in-active
43 | - | Spare/in-active
44 | EF-3 | HVAC
45 | EF-6 | HVAC
46 | EF-3 | HVAC
47 | EF-6 | HVAC
48 | - | Spare/in-active
49 | EF-6 | HVAC
50 | - | Spare/in-active
51 | - | Spare/in-active
52 | VF-1 | Other
53 | - | Spare/in-active
54 | VF-1 | Other
55 | - | Spare/in-active
56 | VF-1 | Other
57 | - | Spare/in-active
58 | spare | Spare/in-active
59 | - | Spare/in-active
60 | spare | Spare/in-active
61 | - | Spare/in-active
62 | spare | Spare/in-active
63 | - | Spare/in-active
64 | - | Spare/in-active
65 | - | Spare/in-active
66 | - | Spare/in-active
67 | - | Spare/in-active
68 | - | Spare/in-active
69 | - | Spare/in-active
70 | - | Spare/in-active
71 | - | Spare/in-active
72 | - | Spare/in-active
73 | - | Spare/in-active
74 | - | Spare/in-active
75 | - | Spare/in-active
76 | - | Spare/in-active
77 | - | Spare/in-active
78 | - | Spare/in-active
79 | DATA BOARD RCPT/PWR | Panel/Sub-Panel
80 | - | Spare/in-active

## Panel H2A
Panel H2A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | CORRIDOR T-SLOT | Plug-Load
2 | ICE PLANT RCPT. | Plug-Load
3 | CORRIDOR T-SLOT | Plug-Load
4 | ELECTRICAL ROOM RCPT | Plug-Load
5 | CORRIDOR T-SLOT | Plug-Load
6 | OFFICE RCPT | Plug-Load
7 | CORRIDOR T-SLOT | Plug-Load
8 | OFFICE RCPT | Plug-Load
9 | CORRIDOR T-SLOT | Plug-Load
10 | CORRIDOR T-SLOT | Plug-Load
11 | CORRIDOR T-SLOT | Plug-Load
12 | CHANGE ROOM T-SLOT | Plug-Load
13 | CORRIDOR T-SLOT | Plug-Load
14 | CHANGE ROOM GFI | Plug-Load
15 | CHANGE ROOM T-SLOT | Plug-Load
16 | CHANGE ROOM T-SLOT | Plug-Load
17 | CHANGE ROOM GFI | Plug-Load
18 | CHANGE ROOM GFI | Plug-Load
19 | CHANGE ROOM T-SLOT | Plug-Load
20 | WASHROOM GFI | Plug-Load
21 | CHANGE ROOM GFI | Plug-Load
22 | MECH OFFICE RCPT. | Plug-Load
23 | WASHROOM GFI | Plug-Load
24 | ICE PLANT RCPT | Plug-Load
25 | CHANGE ROOM GFI | Plug-Load
26 | EQUIPMENT ROOM RCPT7 | Plug-Load
27 | CHANGE ROOM T-SLOT | Plug-Load
28 | SCORE KEEP RCPT | Plug-Load
29 | ZAMBONI ROOM T-SLOT | Plug-Load
30 | SCORE KEEP RCPT | Plug-Load
31 | O/H ZAMBONI DOOR | Plug-Load
32 | SKATES ROOM RCPT | Plug-Load
33 | - | Spare/in-active
34 | SKATES ROOM T-SLOT | Plug-Load
35 | AHU-3 SERVICE RCPT | Plug-Load
36 | OFFICE RCPT | Plug-Load
37 | MEZZ TRAINING ROOM | Plug-Load
38 | TV MAIN ENTRANCE | Plug-Load
39 | MEZZ T-SLOT | Plug-Load
40 | - | Spare/in-active
41 | MEZZ T-SLOT | Plug-Load
42 | MECH ROOM RCPT. | Plug-Load
43 | MEZZ T-SLOT | Plug-Load
44 | SCORE BOARD SPARE | Spare/in-active
45 | MEZZ T-SLOT | Plug-Load
46 | SCORE BOARD PWR | Plug-Load
47 | MEZZ T-SLOT | Plug-Load
48 | SPARE | Spare/in-active
49 | WASHROOM GFI | Plug-Load
50 | EXTERIOR GFI | Plug-Load
51 | MEZZ T-SLOT | Plug-Load
52 | ICE PLANT CONTROL PANEL | Panel/Sub-Panel
53 | MEZZ T-SLOT | Plug-Load
54 | AMMONIA SENSOR | Other
55 | - | Spare/in-active
56 | - | Spare/in-active
57 | WATER BOTTLE FILLER | Other
58 | - | Spare/in-active
59 | MEZZ TRAINING ROOM | Plug-Load
60 | FIRE DOOR MAGS | Plug-Load
61 | MEZZ TRAINING ROOM | Plug-Load
62 | ENTENDER MIC RCPT | Plug-Load
63 | MEZZ TRAINING ROOM | Plug-Load
64 | - | Spare/in-active
65 | MEZZ TRAINING ROOM | Plug-Load
66 | - | Spare/in-active
67 | MEZZ TRAINING ROOM | Plug-Load
68 | - | Spare/in-active
69 | MEZZ TRAINING ROOM | Plug-Load
70 | - | Spare/in-active
71 | MEZZ TRAINING ROOM | Plug-Load
72 | - | Spare/in-active
73 | - | Spare/in-active
74 | - | Spare/in-active
75 | - | Spare/in-active
76 | - | Spare/in-active
77 | - | Spare/in-active
78 | - | Spare/in-active
79 | - | Spare/in-active
80 | - | Spare/in-active
81 | - | Spare/in-active
82 | - | Spare/in-active

## CDP-2HA
CDP-2HA
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | H2B | Panel/Sub-Panel
2 | H2A | Panel/Sub-Panel
3 | SPARE | Spare/in-active

## CDP-6HA
CDP-6HA
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | AHU-3 | HVAC
2 | H6MA | Panel/Sub-Panel
3 | SPARE | Spare/in-active
4 | H6A | Panel/Sub-Panel
5 | SPARE | Spare/in-active
6 | SPARE | Spare/in-active
7 | SPARE | Spare/in-active
8 | TRANSFORMER T4 | Other

## Panel C6B
Panel C6B
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | EXIT LIGHTS | Lighting
2 | KITCHEN & RESTAURANT | Lighting
3 | CORRIDOR LIGHTING | Lighting
4 | LV RELAY PANEL | Panel/Sub-Panel
5 | OFFICE LIGHTING | Lighting
6 | NIGHT LIGHTS | Lighting
7 | EMERGENCY LIGHTING | Lighting
8 | - | Spare/in-active
9 | SERVER ROOM LIGHTS | Lighting
10 | - | Spare/in-active
11 | - | Spare/in-active
12 | - | Spare/in-active

## Panel C2B
Panel C2B
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | CORRIDOR T-SLOT | Plug-Load
2 | ELECTRICAL ROOM RCPT | Plug-Load
3 | CORRIDOR T-SLOT | Plug-Load
4 | OFFICE RCPT. | Plug-Load
5 | - | Spare/in-active
6 | OFFICE RCPT. | Plug-Load
7 | WATER BOTTLE FILLER | Other
8 | OFFICE RCPT. | Plug-Load
9 | WASHROOM GFI | Plug-Load
10 | OFFICE RCPT. | Plug-Load
11 | OFFICE RCPT. | Plug-Load
12 | OFFICE RCPT. | Plug-Load
13 | WASHROOM GFI | Plug-Load
14 | OFFICE RCPT. | Plug-Load
15 | EF-21 | HVAC
16 | OFFICE RCPT. | Plug-Load
17 | WR RCPT/DOOR OPERATOR | Other
18 | OFFICE RCPT. | Plug-Load
19 | WASHROOM GFI | Plug-Load
20 | OFFICE RCPT. | Plug-Load
21 | JANITOR GFI | Plug-Load
22 | OFFICE RCPT. | Plug-Load
23 | CORRIDOR T-SLOT | Plug-Load
24 | OFFICE RCPT. | Plug-Load
25 | CORRIDOR T-SLOT | Plug-Load
26 | OFFICE RCPT. | Plug-Load
27 | CORRIDOR T-SLOT | Plug-Load
28 | OFFICE RCPT. | Plug-Load
29 | - | Spare/in-active
30 | EF-15 | HVAC
31 | LV CONTROL PWR BMS | Panel/Sub-Panel
32 | LIBRARY | Other
33 | LIBRARY OP-LIGHT | Other
34 | LIBRARY | Other
35 | RESTAURANT | Other
36 | LIBRARY | Other
37 | PARTY ROOM RCPT | Plug-Load
38 | SERVER ROOM RCPT | Plug-Load
39 | PARTY ROOM RCPT | Plug-Load
40 | SERVER ROOM RCPT | Plug-Load
41 | OFFICE RCPT. | Plug-Load
42 | OFFICE RCPT. | Plug-Load
43 | OFFICE RCPT. | Plug-Load
44 | OFFICE RCPT. | Plug-Load
45 | OFFICE RCPT. | Plug-Load
46 | OFFICE RCPT. | Plug-Load
47 | OFFICE RCPT. | Plug-Load
48 | OFFICE RCPT. | Plug-Load
49 | OFFICE RCPT. | Plug-Load
50 | UPS RECEPTACLE | Plug-Load
51 | OFFICE RCPT. | Plug-Load
52 | UPS RECEPTACLE | Plug-Load
53 | PARTY ROOM RCPT. | Plug-Load
54 | UPS RECEPTACLE | Plug-Load
55 | OFFICE RCPT. | Plug-Load
56 | - | Spare/in-active
57 | OFFICE RCPT. | Plug-Load
58 | KITCHEN DISHWASHER | Plug-Load
59 | SERVER ROOM RCPT. | Plug-Load
60 | KITCHEN DISHWASHER | Plug-Load
61 | SERVER ROOM COPIER | Plug-Load
62 | KITCHEN DISHWASHER | Plug-Load
63 | SERVER ROOM COPIER | Plug-Load
64 | COFFEE SYSTEM | Plug-Load
65 | SERVER ROOM RCPT. | Plug-Load
66 | COFFEE SYSTEM | Plug-Load
67 | - | Spare/in-active
68 | EXHAUST CANOPY LIGHTS | Lighting
69 | SOUP RE-THERMALIZER | Other
70 | LIB OFFICE RECEPTS, | Plug-Load
71 | NACHO | Plug-Load
72 | HOT SPECIALITY'DRINKS | Plug-Load
73 | CHEESE WARMER | Plug-Load
74 | EF-22/MAU-2 CONTROLS | Panel/Sub-Panel
75 | REACH-IN FREEZER | Plug-Load
76 | HOTDOG | Plug-Load
77 | REACH-IN COOLER | Plug-Load
78 | BUTTER WARMER | Plug-Load
79 | WORKTOP COOLER | Plug-Load
80 | SLIDING DOOR COOLER | Plug-Load
81 | RAPID COOK OVEN | Plug-Load
82 | PHOTOCOPIER LIB | Plug-Load
83 | RAPID COOK OVEN | Plug-Load
84 | KITCHEN GFI | Plug-Load
85 | - | Spare/in-active
86 | FIRE SUPRESSION (SPARE) | Plug-Load
87 | KITCHEN RCPT | Plug-Load
88 | SM LIB CORNER TREE | Plug-Load
89 | - | Spare/in-active
90 | LIB OFFICE LIGHTING | Lighting
91 | - | Spare/in-active
92 | SERVER ROOM RCPT. | Plug-Load
93 | WARMING CABINET | Plug-Load
94 | SERVER ROOM RCPT. | Plug-Load
95 | POPCORN | Plug-Load
96 | LIB CIRC DESK RECEPT | Plug-Load
97 | MAU-2 | HVAC
98 | LIB KITCHEN COUNTER | Other
99 | MAU-2 | HVAC
100 | EF-22 | HVAC
101 | MAU-2 | HVAC
102 | EF-22 | HVAC
103 | - | Spare/in-active
104 | EF-22 | HVAC
105 | 3/4 LIB CORNER TREE | Other
106 | FRIER HEAT LAMP | Plug-Load
107 | STAFF ROOM DISHWASHER | Plug-Load
108 | UPWASH LIGHTS | Lighting
109 | STAFF ROOM DISHWASHER | Plug-Load
110 | PENDANT LIGHTS | Lighting
111 | STAFF COUNTER RCPT. | Plug-Load
112 | UPWASH LIGHTS | Lighting
113 | STAFF COUNTER RCPT. | Plug-Load
114 | TREE/CIRC DESK POWER | Plug-Load
115 | STAFF ROOM MICROWAVE | Plug-Load
116 | - | Spare/in-active
117 | STAFF ROOM FRIDGE | Plug-Load
118 | STAFF ROOM RANGE | Plug-Load
119 | STAFF ROOM RANGE HOOD | Plug-Load
120 | STAFF ROOM RANGE | Plug-Load