## Panel M
Panel M
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | PROJECTOR RM 212 Photo Cell | Other
2 | FC-10, FC-11, FC-12 | Other
3 | SPARE | Spare/in-active
4 | REC-1 CONTROL PANEL | Other
5 | FC-8, FC-9 | Other
6 | REC-1 HEAT TRACE | Other
7 | FC-4, FC-5 | Other
8 | MECHANICAL 215 RECEPTACLE | Plug-Load
9 | EF-4 | Other
10 | EF-2, EF-3 CONTROL | Other
11 | SPARE | Spare/in-active
12 | EF-15A ACID EXHAUST | HVAC
13 | EF-5 | Other
14 | ROOF RECEPTACLE | Plug-Load
15 | FC-3 | Other
16 | BLANK | Spare/in-active
17 | SPARE | Spare/in-active
18 | BLANK | Spare/in-active
19 | EF-3 | Other
20 | BLANK | Spare/in-active
21 | EF-3 | Other
22 | BLANK | Spare/in-active
23 | EF-3 | Other
24 | BLANK | Spare/in-active
25 | EF-2 | Other
26 | BLANK | Spare/in-active
27 | EF-2 | Other
28 | BLANK | Spare/in-active
29 | EF-2 | Other
30 | BLANK | Spare/in-active

## MCC #2
MCC #2
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | AHU-7 EXERCISE AIR HANDLING UNIT | HVAC
2 | AHU-1 PERIMETER POOL AIR HANDLING UNIT | HVAC
3 | AHU-2 INTERIOR POOL AIR HANDLING UNIT | HVAC
4 | EF-1 POOL EXHAUST FAN | HVAC
5 | FC-1 FAN COIL UNIT | HVAC
6 | AHU-3 GENERAL VENTILATION AIR HANDLING UNIT | HVAC
7 | AHU-4 MENS / FAMILY LOCKERS AIR HANDLING UNIT | HVAC
8 | FC-2 FAN COIL UNIT | HVAC
9 | AHU-5 WOMEN'S LOCKER AIR HANDLING UNIT | HVAC
10 | AHU-6 MULTI-PURPOSE AIR HANDLING UNIT | HVAC

## MCC #1
MCC #1
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | P-27 WANDING POOL CIRC. PUMP | Pumps & Motors
2 | EF-14 EXHAUST FAN | HVAC
3 | P-9 DHW CIRC. PUMP | Pumps & Motors
4 | P-20 WHIRLPOOL LECTRANATOR PUMP | Pumps & Motors
5 | P-24 GREY WATER PUMP | Pumps & Motors
6 | P-25 CH WATER CONDENSER PUMP | Pumps & Motors
7 | P-26 CH WATER CIRC. PUMP | Pumps & Motors
8 | P-19 WHIRLPOOL JETS CIRC. PUMP | Pumps & Motors
9 | P-7 POOL FILL HX PUMP | Pumps & Motors
10 | P-8 OUTDOOR POOL HX PUMP | Pumps & Motors
11 | P-3 BUILDING HEATING HX PUMP | Pumps & Motors
12 | P-4 DOM HOT CIRC. HX PUMP | Pumps & Motors
13 | P14 INDOOR POOL CIRC.PUMP | Pumps & Motors
14 | P-15 INDOOR POOL LECTRANATOR PUMP | Pumps & Motors
15 | P-10 GLYCOL HEATING PUMP | Pumps & Motors
16 | P-11 GLYCOL HEATING STANDBY PUMP | Pumps & Motors
17 | P-1 BOILER CIRC. PUMP | Pumps & Motors
18 | P-2 BOILER CIRC. STANDBY PUMP | Pumps & Motors

## Panel F
Panel F
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | WOMEN'S CHANGEROOM 120 LIGHTING | Lighting
2 | JANITOR 120 RECEPTACLES | Plug-Load
3 | WOMEN'S CHANGEROOM 120 LIGHTING | Lighting
4 | MEN'S CHANGEROOM 123 RECEPTACLES | Plug-Load
5 | WOMEN'S CHANGEROOM 120 LIGHTING | Lighting
6 | LIGHTING CONTACTORS | Lighting
7 | EXTERIOR LIGHTING | Lighting
8 | SPARE | Spare/in-active
9 | MEN'S CHANGEROOM 123 LIGHTING | Lighting
10 | DRINKING FOUNTAIN | Other
11 | MEN'S CHANGEROOM 123 LIGHTING | Lighting
12 | CORRIDOR 11 RECEPTACLE | Plug-Load
13 | FAMILY CHANGEROOM 125 LIGHTING | Lighting
14 | SPARE | Spare/in-active
15 | CORRIDOR 111 LIGHTING | Lighting
16 | WOMEN'S CHANGEROOM RECEPTACLES | Plug-Load
17 | EXTERIOR LIGHTING | Lighting
18 | WOMEN'S GROOMING RECEPTACLES | Plug-Load
19 | EXTERIOR LIGHTING | Lighting
20 | WOMEN'S GROOMING COUNTER RECEPT | Plug-Load
21 | EXERCISE ROOM 114 LIGHTING | Lighting
22 | WOMEN'S GROOMING COUNTER RECEPT | Plug-Load
23 | STUDIO 113 LIGHTING | Lighting
24 | WOMEN'S GROOMING COUNTER RECEPT | Plug-Load
25 | OFFICE, STORAGE LIGHTING | Lighting
26 | WOMEN'S GROOMING COUNTER RECEPT | Plug-Load
27 | EF-12 | Other
28 | WOMEN'S GROOMING COUNTER RECEPT | Plug-Load
29 | SPARE | Spare/in-active
30 | WOMEN'S CHANGEROOM RECEPTACLES | Plug-Load
31 | SPARE | Spare/in-active
32 | FC-22 | Other
33 | SPARE | Spare/in-active
34 | FAMILY CHANGEROOM RECEPTACLES | Plug-Load
35 | SPARE | Spare/in-active
36 | FAMILY CHANGEROOM SINK SOLENOIDS | Other
37 | HAND DRYER | Other
38 | FAMILY CHANGEROOM RECEPTACLES | Plug-Load
39 | SPARE | Spare/in-active
40 | SPARE | Spare/in-active
41 | BLANK | Spare/in-active
42 | BLANK | Spare/in-active
43 | EXIT SIGNS | Lighting
44 | FAMILY CHANGEROOM RECEPTACLES | Plug-Load
45 | SPARE | Spare/in-active
46 | FAMILY CHANGEROOM RECEPTACLES | Plug-Load
47 | SPARE | Spare/in-active
48 | FAMILY CHANGEROOM SINK SOLENOIDS | Other
49 | SPARE | Spare/in-active
50 | MEN'S GROOMING RECEPTACLES | Plug-Load
51 | SPARE | Spare/in-active
52 | MEN'S GROOMING RECEPTACLES | Plug-Load
53 | SPARE | Spare/in-active
54 | MEN'S GROOMING RECEPTACLES | Plug-Load
55 | HAIR DRYER | Other
56 | MEN'S GROOMING RECEPTACLES | Plug-Load
57 | HAND DRYER | Other
58 | MEN'S GROOMING RECEPTACLES | Plug-Load
59 | SHOWER SOLENOIDS | Other
60 | MEN'S GROOMING RECEPTACLES | Plug-Load
61 | SHOWER SOLENOIDS | Other
62 | MEN'S GROOMING RECEPTACLES | Plug-Load
63 | CHANGEROOM 121 SINK SOLENOIDS | Other
64 | MEN'S GROOMING RECEPTACLES | Plug-Load
65 | CHANGEROOM RECEPTACLE | Plug-Load
66 | HAIR DRYER | Other
67 | CHANGEROOM RECEPTACLE | Plug-Load
68 | HAND DRYER | Other
69 | FF-9 | Other
70 | SPARE | Spare/in-active
71 | CHANGEROOM 123 SINK SOLENOIDS | Other
72 | SPARE | Spare/in-active
73 | CHANGEROOM 123 RECEPTACLE | Plug-Load
74 | SPARE | Spare/in-active
75 | CHANGEROOM 123 RECEPTACLE | Plug-Load
76 | SPARE | Spare/in-active
77 | FF-7, FF-8 | Other
78 | SPARE | Spare/in-active
79 | BOOSTER PANEL #2 | Panel/Sub-panel
80 | SPARE | Spare/in-active
81 | EGRESS DOORS | Other
82 | SPARE | Spare/in-active
83 | SPARE | Spare/in-active
84 | SPARE | Spare/in-active

## Panel A
Panel A
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | 024, 025, 027, 028 LIGHTING | Lighting
2 | ELEC. ROOM RECEPTACLE | Plug-Load
3 | STAFF CHANGEROOM LTS | Lighting
4 | CORRIDOR RECEPTACLE | Plug-Load
5 | CORRIDOR 023 LIGHTING | Lighting
6 | CORRIDOR RECEPTACLE | Plug-Load
7 | CRAWL SPACE LIGHTING | Lighting
8 | CRAWL SPACE RECEPTACLE | Plug-Load
9 | CORRIDOR 019, 002 LIGHTING | Lighting
10 | EF - 8 | Other
11 | STAIRWELL LIGHTING | Lighting
12 | DOOR SECURITY (SHEL-BAR) | Other
13 | MAINTNENANCE 018 LIGHTING | Lighting
14 | FF - 1, TF-1 | Other
15 | WASHROOM 009, 010 LTS | Lighting
16 | STORAGE 029 RECEPTACLE | Plug-Load
17 | 016, 017 LIGHTING | Lighting
18 | STORAGE 029 RECEPTACLE | Plug-Load
19 | MULTIPURPOSE RM 016 LTS | Lighting
20 | WASHROOM 010 RECEPTACLE | Plug-Load
21 | MULTIPURPOSE RM 016 LTS | Lighting
22 | SINK SOLENOIDS | Other
23 | 013, 014, 016 LIGHTING | Lighting
24 | WASHROOM 009 RECEPTACLE | Plug-Load
25 | MULTIPURPOSE RM 011 LTS | Lighting
26 | HAND DRYER 009 | Other
27 | POTTERY ROOM LIGHTING | Lighting
28 | HAND DRYER 010 | Other
29 | POTTERY ROOM LIGHTING | Lighting
30 | SECURITY CABINET | Other
31 | POTTERY ROOM LIGHTING | Lighting
32 | ELEVATOR CAB LIGHTING | Lighting
33 | POLE LIGHTING | Lighting
34 | EXTERIOR 50A RECEPTACLE | Plug-Load
35 | POLE LIGHTING | Lighting
36 | EXTERIOR 50A RECEPTACLE | Plug-Load
37 | DOOR HOLD OPENERS | Other
38 | SPARE | Spare/in-active
39 | BATTERY PACK #1 | Other
40 | STAFF 025 COUNTER RECEPTACLE | Plug-Load
41 | EXIT LIGHTING | Lighting
42 | STAFF 025 COUNTER RECEPTACLE | Plug-Load
43 | EXIT LIGHTING | Lighting
44 | MICROWAVE | Plug-Load
45 | CORRIDOR RECEPTACLES | Plug-Load
46 | FC-20 | Other
47 | CORRIDOR FOUNTAIN | Other
48 | 025, 004 RECEPTACLES | Plug-Load
49 | DRINKING FOUNTAIN | Other
50 | STAFF 025 DATA RECEPTACLE | Plug-Load
51 | FC-17 | Other
52 | STAFF RM 025 FRIDGE RECEP. | Plug-Load
53 | LAUNDRY 006 COUNTER RECEPTACLE | Plug-Load
54 | STAFF 026 HAND DRYER | Other
55 | LAUNDRY 006 COUNTER RECEPTACLE | Plug-Load
56 | VAV CONTROL | Other
57 | LAUNDRY 006 COUNTER RECEPTACLE | Plug-Load
58 | 026 GROOMING COUNTER | Plug-Load
59 | LAUNDRY 006 COUNTER RECEPTACLE | Plug-Load
60 | 026 GROOMING COUNTER | Plug-Load
61 | LAUNDRY 006 RECEPTACLE | Plug-Load
62 | 026 GROOMING COUNTER | Plug-Load
63 | WASHER RECEPTACLE | Plug-Load
64 | SINK SOLENOIDS | Other
65 | LAUNDRY 006 RECEPTACLE | Plug-Load
66 | 026 GROOMING COUNTER | Plug-Load
67 | ELEVATOR SHAFT RECEPT. | Plug-Load
68 | TF-5 | Other
69 | ELEVATOR ROOM RECEPT. | Plug-Load
70 | PARKING LIGHTS | Lighting
71 | EF-11 | Other
72 | PARKING LIGHTS | Lighting
73 | MURAL LIGHTING | Lighting
74 | PARKING LIGHTS | Lighting
75 | SPARE | Spare/in-active
76 | SMOKE DAMPERS | Other
77 | ART ROOM LIGHTING | Lighting
78 | SMOKE DAMPERS | Other
79 | ART ROOM LIGHTING | Lighting
80 | CONDENSOR PUMP FOR A/C | Pumps & Motors
81 | SPARE | Spare/in-active
82 | CONDENSOR PUMP FOR A/C | Pumps & Motors
83 | BMS CONTROL CABINET | Other
84 | CONDENSOR PUMP FOR A/C | Pumps & Motors

## Panel B
Panel B
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | inelligable | Other
2 | inelligable | Other
3 | inelligable | Other
4 | inelligable | Other
5 | inelligable | Other
6 | inelligable | Other
7 | inelligable | Other
8 | inelligable | Other
9 | inelligable | Other
10 | inelligable | Other
11 | inelligable | Other
12 | inelligable | Other
13 | inelligable | Other
14 | inelligable | Other
15 | inelligable | Other
16 | inelligable | Other
17 | inelligable | Other
18 | inelligable | Other
19 | inelligable | Other
20 | inelligable | Other
21 | inelligable | Other
22 | inelligable | Other
23 | inelligable | Other
24 | inelligable | Other
25 | inelligable | Other
26 | inelligable | Other
27 | inelligable | Other
28 | inelligable | Other
29 | inelligable | Other
30 | inelligable | Other
31 | KIDDIE POOL ARCH | Other
32 | LP CHLOROMATIC | Other
33 | KIDDIE POOL CRAYON | Other
34 | LP CHLOROMATIC | Other
35 | KIDDIE POOL CACTUS | Other
36 | LP CHLOROMATIC | Other
37 | OUTDOOR POOL SHOWER RECIRC | Plug-Load
38 | LP CHLOROMATIC | Other
39 | OUTDOOR POOL CHEMICAL CONTROL | Other
40 | WP UV GEN. | Other
41 | EX¦T SIGNS | Lighting
42 | WP UV GEN. | Other
43 | OUTDOOR POOL LEVEL CONTROLLER (EXHAUST FAN) | Other
44 | INDOOR POOL VACUUM RECEPTACLE | Plug-Load
45 | OUTDOOR POOL AIR DRYER | Other
46 | INDOOR POOL VACUUM RECEPTACLE | Plug-Load
47 | OUTDOOR POOL COMPRESSOR | Other
48 | OUTDOOR POOL VACUUM RECEPTACLE | Plug-Load
49 | SOLAR RECIRC PUMP | Pumps & Motors
50 | OUTDOOR POOL VACUUM RECEPTACLE | Plug-Load
51 | SOLAR RECIRC PUMP | Pumps & Motors
52 | OUTDOOR POOL VACUUM DECK RECEPTACLE | Plug-Load
53 | 20 AMP COMP | Other
54 | SPARE | Spare/in-active
55 | 20 AMP COMP | Other
56 | SPARE | Spare/in-active
57 | SPARE | Spare/in-active
58 | SPARE | Spare/in-active
59 | SPARE | Spare/in-active
60 | SPARE | Spare/in-active

## Panel L
Panel L
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | BLANK | Spare/in-active
2 | INDOOR POOL UV (MAIN POOL) | Other
3 | BLANK | Spare/in-active
4 | INDOOR POOL UV (MAIN POOL) | Other
5 | Spare | Spare/in-active
6 | Spare | Spare/in-active
7 | Spare | Spare/in-active
8 | Spare | Spare/in-active
9 | Spare | Spare/in-active
10 | Spare | Spare/in-active
11 | Spare | Spare/in-active
12 | Spare | Spare/in-active
13 | Spare | Spare/in-active
14 | Spare | Spare/in-active
15 | Spare | Spare/in-active
16 | Spare | Spare/in-active
17 | Spare | Spare/in-active
18 | Spare | Spare/in-active
19 | Spare | Spare/in-active
20 | Spare | Spare/in-active
21 | Spare | Spare/in-active
22 | Spare | Spare/in-active
23 | Spare | Spare/in-active
24 | Spare | Spare/in-active

## Panel H
Panel H
row_number | Circuit Name | Circuit Category | Circuit Amps
1 | POOL AREA LIGHTING | Lighting
2 | POOL STORAGE RECEPTACLE | Plug-Load
3 | EXTERIOR LIGHTING | Lighting
4 | POOL DECK RECEPTACLE NW | Plug-Load
5 | EXTERIOR LIGHTING | Lighting
6 | EF-6 | Other
7 | CONTACTOR CABINET | Other
8 | WEST CLOCK RECEPTACLE | Plug-Load
9 | SPARE | Spare/in-active
10 | POOL STORAGE RECEPTACLE | Plug-Load
11 | STAIRWELL #2 LIGHTING | Lighting
12 | POOL DECK RECEPTACLE SW | Plug-Load
13 | VIEWING LIGHTING | Lighting
14 | AUTOMATIC DOOR | Other
15 | INVERTER | Other
16 | SPARE | Spare/in-active
17 | OVERHEAD POOL LIGHTING | Lighting
18 | DRINKING FOUNTAIN | Other
19 | OVERHEAD POOL LIGHTING | Lighting
20 | POOL DECK RECEPTACLE NE | Plug-Load
21 | OVERHEAD POOL LIGHTING | Lighting
22 | EAST CLOCK RECEPTACLE | Plug-Load
23 | OVERHEAD POOL LIGHTING | Lighting
24 | SPARE | Spare/in-active
25 | OVERHEAD POOL LIGHTING | Lighting
26 | FF-3 | Other
27 | OVERHEAD POOL LIGHTING | Lighting
28 | FF-2 | Other
29 | OVERHEAD POOL LIGHTING | Lighting
30 | SPARE | Spare/in-active
31 | OVERHEAD POOL LIGHTING | Lighting
32 | UH-1 | Other
33 | OUTDOOR POOL ROOF LIGHTING | Lighting
34 | UH-7 | Other
35 | OUTDOOR POOL ROOF LIGHTING | Lighting
36 | UPS - 2 | Other
37 | OUTDOOR POOL ROOF LIGHTING | Lighting
38 | UPS - 1 | Other
39 | EXIT SIGNS | Lighting
40 | CHLORINE ROOM RECEPTACLE | Plug-Load
41 | EXIT SIGNS | Lighting
42 | CHLORINE ROOM CONTROL BOX | Other